## Sheet1
DURATEC TUBING SYSTEM | WWW.RAPIDAIRPRODUCTS.COM
2020-03-01 | PH 800-954-3310 |  |  | ENTER |  |  |  | LBS
Distributor Quote form |  | List | DIST | QTY | Total | TUBING |  | WGHT | TOTAL | TOTAL
| Part # | price | cost | HERE | Dist Cost | SIZE |  | EACH | WEIGHT | LIST PRICE
| D6026 | 133.69 | 120.32 | 0 | 0 | 1/2" | 100 FT .63 OD X .50 ID | 10 | 0 | 0
| D6027 | 401.39 | 361.25 | 0 | 0 | 1/2" | 300 FT .63 OD X .50 ID | 22 | 0 | 0
| D6030 | 215.41 | 193.87 | 0 | 0 | 3/4" | 100 FT .98 OD X .80 ID | 15 | 0 | 0
| D6031 | 619.19 | 557.27 | 0 | 0 | 3/4" | 300 FT .98 OD X .80 ID | 45 | 0 | 0
| D6032 | 272.8 | 245.52 | 0 | 0 | 1" | 100 FT 1.26 OD X 1.03 ID | 27 | 0 | 0
| D6033 | 817.18 | 735.46 | 0 | 0 | 1" | 300 FT 1.26 OD X 1.03 ID | 80 | 0 | 0
| D8064-10 | 10.89 | 9.8 | 0 | 0 | 1/2" | PIPE CLIP SPACING EVERY 3 FT PACK OF TEN | 0.003 | 0 | 0
| D8065-10 | 17.43 | 15.69 | 0 | 0 | 3/4" | PIPE CLIP SPACING EVERY 4-5 FT PACK OF TEN | 0.005 | 0 | 0
| D8066-10 | 21.79 | 19.61 | 0 | 0 | 1" | PIPE CLIP SPACING EVERY 5-6 FT PACK OF TEN | 0.006 | 0 | 0
| D8021 | 11.41 | 10.27 | 0 | 0 | 1/2" | UNION | 0.054 | 0 | 0
| D8022 | 28.43 | 25.59 | 0 | 0 | 3/4" | UNION | 0.095 | 0 | 0
| D8023 | 47.55 | 42.8 | 0 | 0 | 1" | UNION | 0.162 | 0 | 0
0
| D8024 | 23.73 | 21.36 | 0 | 0 | 3/4" | REDUCING UNION 3/4" TUBING X 1/2" TUBING | 0.077 | 0 | 0
| D8025 | 33.11 | 29.8 | 0 | 0 | 1" | REDUCING UNION 1" TUBING X 3/4" TUBING | 0.142 | 0 | 0
| D8080 | 12.83 | 11.55 | 0 | 0 | 1/2" | 90 DEGREE ELBOW | 0.054 | 0 | 0
| D8067 | 32.69 | 29.42 | 0 | 0 | 3/4" | 90 DEGREE ELBOW | 0.11 | 0 | 0
| D8068 | 41.13 | 37.02 | 0 | 0 | 1" | 90 DEGREE ELBOW | 0.195 | 0 | 0
| D8010 | 22.81 | 20.53 | 0 | 0 | 1/2" | EQUAL TEE | 0.077 | 0 | 0
| D8011 | 41.02 | 36.92 | 0 | 0 | 3/4" | EQUAL TEE | 0.159 | 0 | 0
| D8012 | 70.91 | 63.82 | 0 | 0 | 1" | EQUAL TEE | 0.274 | 0 | 0
| D8014 | 36.01 | 32.41 | 0 | 0 | 3/4" | REDUCING TEE DROP LEG (C ) 1/2" TUBING | 0.129 | 0 | 0
| D8016 | 60.76 | 54.68 | 0 | 0 | 1" | REDUCING TEE DROP LEG (C ) 1/2" TUBING | 0.215 | 0 | 0
| D8018 | 67.61 | 60.85 | 0 | 0 | 1" | REDUCING TEE DROP LEG (C ) 3/4" TUBING | 0.233 | 0 | 0
| D8019 | 20.87 | 18.78 | 0 | 0 | 1/2" | REDUCING TEE DROP LEG 1/2" FEMALE NPT | 0.066 | 0 | 0
| D8078 | 23.28 | 20.95 | 0 | 0 | 3/4" | REDUCING TEE DROP LEG 1/2" FEMALE NPT | 0.136 | 0 | 0
| D8002 | 9.14 | 8.23 | 0 | 0 | 1/2" | STRAIGHT 1/2" TUBING X 1/2" MALE NPT | 0.038 | 0 | 0
| D8003 | 18.73 | 16.86 | 0 | 0 | 3/4" | STRAIGHT 3/4" TUBING X 3/4" MALE NPT | 0.07 | 0 | 0
| D8004 | 27.94 | 25.15 | 0 | 0 | 1" | STRAIGHT 1" TUBING X 1" MALE NPT | 0.115 | 0 | 0
| D8030 | 27.97 | 25.17 | 0 | 0 | 1/2" | STRGHT 1/2" TUBING X 1/2" MALE NPT 316 STAINLESS STL | 0.038 | 0 | 0
| D8031 | 52.09 | 46.88 | 0 | 0 | 3/4" | STRGHT 3/4" TUBING X 3/4" MALE NPT 316 STAINLESS STL | 0.07 | 0 | 0
| D8032 | 65.79 | 59.21 | 0 | 0 | 1" | STRAIGHT 1" TUBING X 1" MALE NPT 316 STAINLESS STL | 0.115 | 0 | 0
| D8006 | 9.77 | 8.79 | 0 | 0 | 1/2" | 1/2" TUBING X 1/2" FEMALE NPT | 0.039 | 0 | 0
| D8007 | 18.91 | 17.02 | 0 | 0 | 3/4" | 3/4" TUBING X 3/4" FEMALE NPT | 0.069 | 0 | 0
| D8008 | 31.04 | 27.94 | 0 | 0 | 1" | 1" TUBING X 1" FEMALE NPT | 0.123 | 0 | 0
| D8026 | 9.52 | 8.57 | 0 | 0 | 1/2" | END CAP | 0.032 | 0 | 0
| D8027 | 17.3 | 15.57 | 0 | 0 | 3/4" | END CAP | 0.067 | 0 | 0
| D8028 | 24.43 | 21.99 | 0 | 0 | 1" | END CAP | 0.079 | 0 | 0
| D8038 | 39.38 | 35.44 | 0 | 0 | 1/2" | INLINE HAND VALVE | 0.113 | 0 | 0
| D8039 | 51.2 | 46.08 | 0 | 0 | 3/4" | INLINE HAND VALVE | 0.161 | 0 | 0
| D8040 | 65.71 | 59.14 | 0 | 0 | 1" | INLINE HAND VALVE | 0.2 | 0 | 0
IN WALL TUBING OR SURFACE MOUNT TUBING (MACHINED ALUMINUM) WITH WATER DRAIN
| D8101 | 38.14 | 34.33 | 0 | 0 | 1/2" | SINGLE PORT OUTLET(1/2" NPT OUT)(1/2" NPT REAR/TOP) | 1.5 | 0 | 0
| D8101V | 47.95 | 43.16 | 0 | 0 | 1/2" | SINGLE PORT OUTLET WITH SHUTOFF | 1.5 | 0 | 0
| SURFACE MOUNT TUBING ONLY (MOLDED BODY) WITH WATER DRAIN AT BOTTOM | #N/A | #N/A | [6 empty] | #N/A
| D8200 | 43.59 | 39.23 | 0 | 0 | 1/2" | DUAL PORT OUTLET, (2) 1/2" NPT OUTLET PORTS | 2 | 0 | 0
| D8201 | 49.04 | 44.14 | 0 | 0 | 3/4" | DUAL PORT OUTLET, (2) 1/2" NPT OUTLET PORTS | 2 | 0 | 0
| D8200V | 51.22 | 46.1 | 0 | 0 | 1/2" | DUAL PORT OUTLET WITH SHUTOFF | 1.5 | 0 | 0
| D8201V | 57.76 | 51.98 | 0 | 0 | 3/4" | DUAL PORT OUTLET WITH SHUTOFF | 1.5 | 0 | 0
[8 empty] | 0.058 | 0 | 0
| D8009 | 14.51 | 13.06 | 0 | 0 | 1/2" | SINGLE PORT ELBOW, 1/2" FEMALE NPT | 0.058 | 0 | 0
NO WATER DRAIN, USE FOR INERT GAS
SPARE PARTS ONLY (FITTINGS COME ASSEMBLED WITH SPLIT RINGS)
| D8047 | 0.78 | 0.7 | 0 | 0 | 1/2" | SPLIT RING | 0.02 | 0 | 0
| D8048 | 0.91 | 0.82 | 0 | 0 | 3/4" | SPLIT RING | 0.02 | 0 | 0
| D8049 | 1.87 | 1.68 | 0 | 0 | 1" | SPLIT RING |  |  | 0
SPARE PARTS ONLY (FITTINGS COME ASSEMBLED WITH ORINGS)
| D8054 | 0.62 | 0.56 | 0 | 0 | 1/2" | ORING | 0.02 | 0 | 0
| D8055 | 0.72 | 0.65 | 0 | 0 | 3/4" | ORING | 0.02 | 0 | 0
| D8056 | 0.96 | 0.86 | 0 | 0 | 1" | ORING |  |  | 0
| M8051 | 24.52 | 22.07 | 0 | 0 | TOOL | 1/2" - 1" PIPE CUTTER | 0.01 | 0 | 0
| D8050 | 13.07 | 11.76 | 0 | 0 | TOOL | 1/2" - 1" BEVELING TOOL | 0.06 | 0 | 0
|  | 0 | 0 | 0 | 0 |  | SHIPPING - ship rate based on fully commercial delivery/semi access, no added services, unless noted |  |  | 0
|  | LIST | 0 | 0 | 0 | COST
WEIGHT | 0
Purchases made for these goods subject to Terms & Conditions of Sale/Limited Warranty found @ rapidairproducts.com QUOTE GOOD FOR 30 DAYS. Applicable sales tax added at time of purchase

## Sheet2
MANUAL
override
Item | Description | New List
20100 | RAPIDAIR TUBING, 1/2" NYLON, 100 FT ROLL, non returnable | 67.99
20100-KIT | 90500 MASTER KIT, TUBING AND BOXED KIT FROM RICH FLUID, COLORED BOX, 1/2" NYLON, 100 FT ROLL, ... | 0
20200 | RAPIDAIR TUBING CLAMP, 12 PCS PER PACK | 4.79
50100 | 3/8" NPT STRAIGHT FITTING RAPIDAIR | 5.4
50110 | 1/2" TUBING X 1/2 MALE NPT STRAIGHT FITTING RAPIDAIR | 6.44
50120 | DRAIN VALVE 3/8" MNPT X 3/8" FNPT | 5.73
50125 | CLOSE NIPPLE BRASS 1/4" NPT | 1.63
50130 | STREET ELBOW 45 DEG 1/4" NPT BRASS | 2.39
50131 | STREET ELBOW 45 DEG 1/2" NPT BRASS | 5.51
50132 | STREET ELBOW 45 DEG 3/4" NPT BRASS(28-234) | 36.55
50134 | 1/4" NPT ALLEN HEAD PLUG BRASS (28-094) | 1.18
50135 | 3/8" NPT ALLEN HEAD PLUG BRASS | 1.63
50136 | 1/2" NPT COUNTERSUNK HEAD PLUG BRASS | 3.26
50137 | 3/4" NPT HEX HEAD PLUG BRASS (28-205S) | 7.98
50138 | 1" NPT HEX HEAD PLUG BRASS (28-206S) | 22.23
50200 | TEE FITTING 1/2" RAPIDAIR | 6.31
50300 | ELBOW FITTING 1/2" RAPIDAIR | 4.79
50400 | 3/8" NPT ELBOW FITTING 1/2" RAPIDAIR | 7.32
50500 | UNION FITTING 1/2" RAPIDAIR | 4.79
50604 | 3/8" FEM NPT X 3/8" FEM NPT BRASS ELBOW (28003) | 7.19
50605 | 1/2" FEM NPT X 3/4" FEM NPT BRASS REDUCING ELBOW (44127) | 19.05
50606 | 3/4" FEM NPT X 3/4" FEM NPT BRASS ELBOW (44104) | 17.39
50607 | 1/2" FEM NPT X 1/2" FEM NPT BRASS ELBOW (G1324267) | 11.21
50609 | 3/8" NPT X 1/4" NPT HEX REDUCING NIPPLE (28-222L) | 2.22
50610 | 1/4" NPT Hex Nipple Brass (28-212L) | 1.56
50611 | 1/2" NPT X 1/4" NPT HEX REDUCING NIPPLE (28-223L) | 3.96
50612 | 1/4" STREET ELBOW, 90 DEGREE (28-157) | 4.81
50613 | 3/8" NPT Brass Street Elbow (28-158) | 6.52
50614 | 1/2" NPT STREET ELBOW 90 DEGREE (28-168) | 9.38
50615 | 3/8" NPT Hex Nipple (28-213L) | 2.4
50616 | 1/2" NPT Hex Nipple (28-214L) | 4.16
50617 | 3/4" NPT Hex Nipple (28-215) | 9.68
50618 | 3/8" x 1/2" NPT Hex Nipple (28-224L) | 4.65
50619 | 3/4" x 1" NPT Hex Nipple | 10.5
50620 | 1/2" x 3/4" NPT Hex Nipple (28-225) | 7.16
50621 | 1" NPT Hex Nipple (28-216) | 15.88
50622 | 3/4" NPT STREET ELBOW 90 DEGREE (28-169) | 14.88
50704 | REDUCING BUSHING 2" MALE X 1-1/2" FEM NPT GALV (64531) | 14
50705 | REDUCING BUSHING 2" MALE X 1" FEM NPT BRONZE (44529LF) | 44.26
50706 | REDUCING BUSHING 2" MALE X 3/4" FEM NPT BRONZE (44528) | 54.76
50707 | REDUCING BUSHING 1-1/2" MALE X 1" FEM NPT BRONZE (44523LF) | 24.8
50708 | REDUCING BUSHING 1-1/2" MALE X 3/4" FEM NPT BRONZE (44522LF) | 30.34
50709 | REDUCING BUSHING 1" MNPT X 3/4" FNPT (28-115) | 9.15
50710 | REDUCING BUSHING 1" MNPT X 1/2" FNPT (28-114) | 11.65
50711 | REDUCING BUSHING 1"MNPT X 3/8" FNPT (28-113) | 11.83
50712 | REDUCING BUSHING 3/4" MNPT X 1/2" FNPT (28-111L) | 4.56
50713 | REDUCING BUSHING 3/4" MNPT X 3/8" FNPT (28-110L) | 6.26
50714 | REDUCING BUSHING 3/4" MNPT X 1/4" FNPT (28-109L) | 5.32
50715 | REDUCING BUSHING 1/2" MNPT X 3/8" FNPT (28-107L) | 2.15
50716 | REDUCING BUSHING 1/2" MALE X 1/4" FEMALE NPT (28-106L) | 2.97
50717 | REDUCING BUSHING 3/8" MNPT x 1/4" FNPT (Manifold reducer) (28-104L) | 1.54
50750 | MEGABUBBLE LEAK DETECTOR 8 OZ | 12.99
50810 | 1/4" MNPT X 3/8" FNPT BUSHING (28-193L) | 3
50811 | 1/4" MNPT X 1/2" FNPT BUSHING (28-199) | 6.56
50812 | 3/8" MNPT X 1/2" FNPT BUSHING (28-195) | 8.42
50813 | 1/2" MNPT X 3/4" FNPT BUSHING (28-208) | 18.43
50860 | 1/4" NPT FEM X FEM COUPLING BRASS (28-059) | 3.73
50861 | 3/8" NPT FEM X FEM COUPLING BRASS (28-060L) | 2.73
50862 | 1/2" NPT FEM X FEM COUPLING BRASS (28-061L) | 5.32
50863 | 3/4" NPT FEM X FEM COUPLING BRASS (28-062L) | 7.68
50864 | 1" NPT FEM X FEM COUPLING GALV (64-415) | 9.49
50870 | 3/8" NPT FEM X 1/4" FEM COUPLING BRASS (28-183L) | 3.31
50871 | 1/2" NPT FEM X 1/4" FEM COUPLING BRASS (28-184L) | 7.2
50872 | 1/2" NPT FEM X 3/8" FEM COUPLING BRASS (28-185L) | 6.49
50873 | 3/4" NPT FEM X 1/2" FEM COUPLING BRASS (28-189) | 12.32
50877 | 1" NPT FEM X 3/4" FEM COUPLING GALV (64-442) | 8.95
50878 | 1-1/2" NPT FEM X 3/4" FEM COUPLING GALV (64-448) | 17.99
50879 | 1-1/2" NPT FEM X 1" FEM COUPLING GALV (64-449) | 15.91
50880 | 2" NPT FEM X 1-1/2" FEM COUPLING GALV (64-454) | 21.7
50883 | 2-1/2" NPT FEM X 2" FEM COUPLING GALV (64-462) | 67.12
50885 | 3" NPT FEM X 2" FEM COUPLING GALV (64-456) | 86.7
50910 | 1/4" NPT Brass Tee (28-025) | 6.13
50911 | 3/8" NPT Brass Tee (28-026) | 9.78
50912 | 1/2" NPT BRONZE/BRASS TEE (44253LF) | 13.17
50913 | 3/4" NPT Tee BRONZE (44254LF) | 17.33
50914 | 1" NPT Tee BRONZE (44255LF) | 30.74
50985 | 3" THREADED FLANGE ONLY | 61.14
90100 | COMPRESSED AIR OUTLET KIT RAPIDAIR | 32.49
90120 | COMPRESSED AIR OUTLET BLOCK ONLY RAPIDAIR | 10.89
90200 | COMPRESSOR MANIFOLD KIT RAPIDAIR | 38.14
90220 | COMPRESSOR MANIFOLD BLOCK ONLY RAPIDAIR | 10.89
90900 | BOXED KIT (2) 90100 OUTLET KITS (1) 90200 MANIFOLD KIT | 0
C-CI1021E120V | AM IND AIR COMPRESSOR, 10 HP, 120 GAL VERT TANK, 1 PHASE, 220 VOLT | 2723.91
C-CI521E80V | AM IND AIR COMPRESSOR, 5 HP, 80 GAL VERT TANK, 1 PHASE, 220 VOLT..if picked up here in Auburnda... | 1633.91
C-CI7521E80V | AM IND AIR COMPRESSOR, 7.5 HP, 80 GAL VERT TANK, 1 PHASE, 220 VOLT..if picked up here in Auburn... | 1851.91
C-TUK15023E120H | AM IND AIR COMPRESSOR, 15 HP, 120 GAL HORIZ TANK, 3 PHASE, 220 VOLT | 3268.91
CH-101 | 1/2" Chemair x 1/2" FNPT..Chemair OD .840 | 38.14
CH-102 | 3/4" Chemair x 3/4" FNPT..Chemair OD 1.050 | 54.49
CH-103 | 1" Chemair x 1" FNPT..Chemair OD 1.315 | 70.84
CH-104 | 1-1/2" Chemair x 1-1/2" FNPT..Chemair OD 1.900 | 108.99
CH-105 | 2" Chemair x 2" FNPT....Chemair OD 2.375" | 326.99
CH-108 | Chemair Cleaner - 16 oz | 21.79
CH-109 | Chemair Cement - 16 oz, 24 hour cure......Engineered Specialties makes no claims of the integrit... | 54.49
CP-0100 | COMPRESSED AIR PIPE LABEL, BLUE, WITH DIRECTION ARROW, cut off unused direction arrow during in... | 1.63
CP-0101 | NITROGEN PIPE LABEL, GREEN, WITH DIRECTION ARROW, cut off unused direction arrow during install... | 1.63
CP-0102 | INERT GAS PIPE LABEL, GREEN, WITH DIRECTION ARROW, cut off unused direction arrow during install... | 1.63
CP-0103 | ARGON PIPE LABEL, GREEN, WITH DIRECTION ARROW, cut off unused direction arrow during installati... | 1.63
CP-0104 | CARBON DIOXIDE PIPE LABEL, GREEN, WITH DIRECTION ARROW, cut off unused direction arrow during i... | 1.63
CP-0177 | AUTO TANK DRAIN, ELECTRIC, 1/2" MALE NPT INLET, 1/4 FEMALE NPT OUTLET ports, 115 volt, 1-45 mi... | 54.49
CP-0190 | COMPRESSOR SHUT OFF VALVE, 110 VOLT, 3/4 FEMALE NPT | 108.99
CP-441-4X | VIBRATION PAD RUBBER/CORK.. SET OF 4, 4 X 4 X 1 | 21.99
D6026 | 1/2" DURATEC 100 FT ROLL, non returnable | 133.69
D6027 | 1/2" DURATEC 300 FT ROLL, non returnable | 401.39
D6030 | 3/4" DURATEC 100 FT ROLL, non returnable | 215.41
D6031 | 3/4" DURATEC 300 FT ROLL, non returnable | 619.19
D6032 | 1" DURATEC 100 FT ROLL, non returnable | 272.8
D6033 | 1" DURATEC 300 FT ROLL, non returnable | 817.18
D8002 | 1/2" DURATEC STRAIGHT X 1/2" MALE NPT | 9.14
D8003 | 3/4" DURATEC STRAIGHT 3/4" MALE NPT | 18.73
D8004 | 1" DURATEC STRAIGHT 1" MALE NPT | 27.94
D8006 | 1/2" DURATEC STRAIGHT 1/2" FEMALE NPT | 9.77
D8007 | 3/4" DURATEC STRAIGHT 3/4" FEMALE NPT | 18.91
D8008 | 1" DURATEC STRAIGHT 1" FEMALE NPT | 31.04
D8009 | 1/2" DURATEC Single Port Elbow, 1/2" Female NPT | 14.51
D8010 | 1/2" DURATEC EQUAL TEE | 22.81
D8011 | 3/4" DURATEC EQUAL TEE | 41.02
D8012 | 1" DURATEC EQUAL TEE | 70.91
D8014 | 3/4" DURATEC REDUCING TEE, 1/2" TUBING DROP LEG | 36.01
D8016 | 1" DURATEC REDUCING TEE, DROP LEG 1/2" TUBING | 60.76
D8018 | 1" DURATEC REDUCING TEE, DROP LEG 3/4" TUBING | 67.61
D8019 | 1/2" DURATEC REDUCING TEE, DROP LEG 1/2" FEMALE NPT | 20.87
D8021 | 1/2" DURATEC UNION | 11.41
D8022 | 3/4" DURATEC UNION | 28.43
D8023 | 1" DURATEC UNION | 47.55
D8024 | 3/4" DURATEC REDUCING UNION 3/4" TUBING x 1/2" TUBING | 23.73
D8025 | 1" DURATEC REDUCING UNION 1" TUBING X 3/4" TUBING | 33.11
D8026 | 1/2" DURATEC END CAP | 9.52
D8027 | 3/4" DURATEC END CAP | 17.3
D8028 | 1" DURATEC END CAP | 24.43
D8030 | 1/2" DURATEC STRAIGHT 1/2" MALE NPT STAINLESS STEEL | 27.97
D8031 | 3/4" DURATEC STRAIGHT 3/4" MALE NPT STAINLESS STEEL | 52.09
D8032 | 1" DURATEC STRAIGHT 1" MALE NPT STAINLESS STEEL | 65.79
D8038 | 1/2" DURATEC INLINE HAND VALVE | 39.38
D8039 | 3/4" DURATEC INLINE HAND VALVE | 51.2
D8040 | 1" DURATEC INLINE HAND VALVE | 65.71
D8047 | 1/2" DURATEC SPLIT RING | 0.78
D8048 | 3/4" DURATEC SPLIT RING | 0.91
D8049 | 1" DURATEC SPLIT RING | 1.87
D8050 | DURATEC TUBING DEBUR TOOL, non returnable | 13.07
D8054 | 1/2" DURATEC ORING | 0.62
D8055 | 3/4" DURATEC ORING | 0.72
D8056 | 1" DURATEC ORING | 0.96
D8066 | 1" DURATEC PIPE CLIP EACH | 3.27
D8067 | 3/4" DURATEC ELBOW | 32.69
D8068 | 1" DURATEC ELBOW | 41.13
D8078 | 3/4" DURATEC REDUCING TEE, DROP LEG 1/2" FEMALE NPT | 23.28
D8080 | 1/2" DURATEC ELBOW | 12.83
F0017 | 3/4" FASTPIPE, 20MM TUBING, STRUT CUSHION CLAMP .79 O.D. | 2.39
F0018 | BEAM CLAMP (3/8 THRU HOLE DESIGN) | 3.37
F0019 | 1" AND 3/4" LOOP PIPE HANGER - FOR 3/8-16 THREADED ROD | 1.3
F0020 | 1-1/2" LOOP HANGER FOR 3/8-16 THREADED ROD | 1.63
F0021 | CANTILEVER ARM 12 INCH LENGTH ZINC PLATED (1-5/8 Strut) | 15.8
F0022 | 1" FASTPIPE, 1" TUBING, STRUT CUSHION CLAMP 1.00 O.D. | 2.72
F0023 | 1- 1/2" FASTPIPE, 40MM -1-5/8" TUBING, STRUT CUSHION CLAMP 1.62 O.D. 1- 1/2" FASTPIPE | 3.37
F0024 | 2" LOOP HANGER - FOR 3/8-16 THREADED ROD | 1.85
F0025 | 2" FASTPIPE, 2" TUBING, STRUT CUSHION CLAMP 2.00 O.D. | 4.25
F0028 | 3/8-16 THREADED ROD, 6 FT LONG, sold each (25 in a tube) | 6.1
F0029 | 3/8-16 HEX NUT, BOX OF 100 | 9.8
F0043 | 1" SADDLE DROP DRILL BIT (9/16) FASTPIPE, non returnable | 21.79
F0044 | 1-1/2" , 2" , 3" SADDLE DROP DRILL BIT (3/4) FASTPIPE, non returnable | 21.79
F0045 | 4" AND 6" SADDLE DROP DRILL BIT (1”) FASTPIPE, non returnable | 21.79
F0139 | SPRAY BOTTLE | 9.8
F0140 | PIPE CUTTER 3/4" THRU 2" FASTPIPE, non returnable | 37.05
F0141 | 3/4" thru 2" HAND DEBURRING TOOL, non returnable | 86.99
F0142 | 3/4"-1" PIPE DEBURRING TOOL FASTPIPE, non returnable | 18.52
F0143 | Pipe cutter replacement wheels for F0140, 2 pack | 13.07
F0212 | 1/2" NPT MALE X FEM X 2FT JUMPER HOSE | 29.42
F0213 | 1/2" NPT MALE X FEM X 3FT JUMPER HOSE | 31.6
F0214 | 3/4" NPT MALE X FEM X 2 FT JUMPER HOSE | 34.87
F0215 | 3/4" NPT MALE X FEM X 3 FT JUMPER HOSE | 43.59
F0216 | 1" NPT MALE X FEM X 2 FT JUMPER HOSE | 65.39
F0217 | 1" NPT MALE X FEM X 3 FT JUMPER HOSE | 71.93
F0221 | 3/4" NPT MALE X FEM X 5 FT JUMPER HOSE | 46.86
F0225 | 1-1/2" NPT MALE X FEM X 18" JUMPER HOSE | 115.53
F0226 | 1-1/2" NPT MALE X FEM X 3 FT JUMPER HOSE | 163.49
F0227 | 2" NPT MALE X FEM X 3 FT JUMPER HOSE | 196.19
F0228 | 3" NPT MALE X FEM X 3 FT JUMPER HOSE | 381.49
F0234 | JUMPER HOSE BRAIDED SS 4" FLANGE. ANSI 150#, X 36" | 381.49
F0236 | JUMPER HOSE BRAIDED SS 6" FLANGE, ANSI 150# X 36" | 599.49
F0238 | 3/8" PUSH ON HOSE, do not use for inventory only use F0238-160 or F023... | 0
F0239 | 3/8 HOSE STRAIN RELIEF, FOR HOSE DIAM .50 - .70 END HOLE IS 3/8 | 10.88
F0240 | 3/8 PUSH ON HOSE FITTING X 1/4 MALE NPT | 2.41
F0241 | 3/8 PUSH ON HOSE FITTING X 3/8 MALE NPT | 3.01
F0242 | 3/8 PUSH ON HOSE FITTING X 1/2 MALE NPT | 3.62
F0243 | 3/8 PUSH ON HOSE FITTING X 1/4 FEMALE SWIVEL NPT | 3.01
F0244 | 3/8 PUSH ON HOSE FITTING X 1/2 FEMALE SWIVEL NPT | 4.36
F0250 | 1/2" PUSH ON HOSE, do not use for inventory only use F0250-160 or F0250-FT | 0
F0251 | 1/2 PUSH ON HOSE FITTING X 1/2 MALE NPT | 4.22
F0252 | 1/2 PUSH ON HOSE FITTING X 1/2 FEMALE SWIVEL NPT | 6.04
F0259 | 1/2 HOSE STRAIN RELIEF, FOR HOSE DIAM .70 - 1.00, END HOLE IS 3/8 | 12.09
F0325 | 3/8" X 25 FT AIR HOSE WITH 1/4" NPT MALE ENDS, RUBBER, TEKTON | 32.69
F0350 | 3/8" X 50 FT AIR HOSE WITH 1/4" NPT MALE ENDS, RUBBER, TEKTON | 49.04
F0615 | 1" EXPANSION NPT FEM X FEM | 49.04
F0616 | 1-1/2" EXPANSION JOINT NPT FEM X FEM | 73.02
F0617 | 2" EXPANSION JOINT TU-32-EE NPT FEM X FEM | 85.01
F0619 | 3" EXPANSION JOINT NPT FEM X FEM TU-48-EE | 152.59
F0621 | 4" FLANGE EXPANSION JOINT, ANSI 150#, 8 bolt x 9.0" O.D. | 108.99
F0622 | 6" FLANGE EXPANSION JOINT, ANSI 150#, 8 bolt x 11.0" O.D. | 185.29
F1000 | 3/4" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE BLUE, non returnable | 34.99
F1000CAN | 3/4" BLUE ALUMINUM TUBING - USA - 19"8" SECTION, non returnable | 39.99
F1000Green | green 3/4" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE green, non returnable | 34.99
F1002 | 3/4" UNION FASTPIPE | 11.98
F1003 | 3/4" 90 DEGREE ELBOW FASTPIPE | 13.07
F1005 | 3/4" EQUAL TEE FASTPIPE | 16.34
F1006 | 3/4" END CAP FASTPIPE | 21.79
F1018 | 3/4" FASTPIPE X 1/2" NPT MALE THREADED NIPPLE, purple | 18.48
F1020 | 3/4" SPANNER WRENCH FASTPIPE, Two Required, non returnable | 5.44
F1022-10 | 3/4" PIPE CLIP FASTPIPE 10 PACK | 16.34
F1024 | 3/4" WALL OUTLET, 1/2" NPT OUTLET PORT (2X), FASTPIPE with DRAIN VALVE | 35.49
F1051 | 3/4" CROSS FITTING FASTPIPE | 17.43
F1071 | 3/4" FASTPIPE TENSION ORING BLUE | 1.08
F1118 | 3/4" FASTPIPE X 3/4" NPT MALE THREADED NIPPLE, yellow | 18.52
F1120 | 3/4" FASTPIPE X 3/4" NPT FEMALE THREADED NIPPLE, orange | 20.7
F1863 | 3/4" ALUMINUM PIPE (7" 6") FASTPIPE EACH, BLUE, non returnable | 17.99
F2000 | 1" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE BLUE, non returnable | 54.99
F2000CAN | 1" BLUE ALUMINUM TUBING - USA - 19"8" SECTION, non returnable | 54.99
F2000Green | green 1" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE green, non returnable | 54.99
F2002 | 1" UNION FASTPIPE | 19.18
F2003 | 1" 90 DEGREE ELBOW FASTPIPE | 20.38
F2004 | 1" 45 DEGREE ELBOW FASTPIPE | 20.7
F2005 | 1" EQUAL TEE FASTPIPE | 23.97
F2006 | 1" END CAP FASTPIPE | 29.42
F2018 | 1" FASTPIPE X 1/2" NPTF MALE THREADED NIPPLE | 23.88
F2020 | 1" SPANNER WRENCH FASTPIPE, Two required, non-returnable | 6.53
F2022-10 | 1" PIPE CLIP FASTPIPE 10 PACK | 19.61
F2024 | 1" WALL OUTLET, 1/2" NPT OUTLET PORT (2X), FASTPIPE with DRAIN VALVE | 35.99
F2025 | DUAL PORT OUTLET, 1/2" NPT TOP PORT, 1/2" NPT OUTLET PORT (2X) W/ DRAIN VALVE (OUTLET WITH F... | 38.15
F2026 | DUAL PORT OUTLET, 3/4" NPT TOP PORT, 1/2" NPT OUTLET PORT (2X) W/ DRAIN VALVE (OUTLET WITH F... | 39.24
F2051 | 1" CROSS FITTING FASTPIPE | 27.24
F2065 | 1" FASTPIPE SEALING ORING BLACK | 1.08
F2070 | 1" STAINLESS STEEL BITE RING | 2.17
F2071 | 1" FASTPIPE TENSION ORING BLUE | 1.08
F2107 | 1" REDUCTION TEE X 3/4" FASTPIPE | 23.97
F2118 | 1" FASTPIPE X 3/4" NPT MALE THREADED NIPPLE, green | 23.93
F2121 | 1" X 3/4" REDUCTION UNION FASTPIPE | 19.61
F2210 | 1" SADDLE DROP X 1" FASTPIPE | 28.33
F2210C | 1" FASTPIPE SADDLE DROP GASKET | 2.17
F2218 | 1" FASTPIPE X 1" NPT MALE THREADED NIPPLE, red | 23.97
F2220 | 1" FASTPIPE X 1" NPT FEMALE THREADED NIPPLE, blue | 27.24
F2863 | 1" ALUMINUM PIPE (7" 6") FASTPIPE EACH, BLUE, non returnable | 26.99
F3100 | HEX NUT, NICKEL PLATED BRASS 1" FASTPIPE | 5.44
F3111 | GASKET FOR BRASS INSERTS 1" FASTPIPE | 1.08
F3125 | BRASS INSERT 1/4" FEMALE NPT 1" FASTPIPE | 6.53
F3150 | BRASS INSERT 1/2" FEMALE NPT 1" FASTPIPE | 6.53
F3175 | BRASS INSERT 3/4" FEMALE NPT 1" FASTPIPE | 6.53
F3400 | HEX NUT, NICKEL PLATED BRASS 3/4" FASTPIPE | 5.44
F3411 | GASKET FOR BRASS INSERTS 3/4" FASTPIPE | 1.08
F3425 | BRASS INSERT 1/4" FEMALE NPTF 3/4" FASTPIPE | 5.99
F3450 | BRASS INSERT 1/2" FEMALE NPTF 3/4" FASTPIPE | 5.99
F4000 | 1-1/2 " ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE BLUE, non returnable | 79.99
F4000CAN | 1-1/2" BLUE ALUMINUM TUBING - USA - 19"8" SECTION, non returnable | 108.99
F4000Green | green 1-1/2 " ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE green, non returnable | 79.99
F4002 | 1-1/2" UNION FASTPIPE | 30.51
F4003 | 1-1/2" 90 DEGREE ELBOW FASTPIPE | 31.6
F4004 | 1-1/2" 45 DEGREE ELBOW FASTPIPE | 37.05
F4005 | 1-1/2" EQUAL TEE FASTPIPE | 47.95
F4006 | 1-1/2" END CAP FASTPIPE | 37.05
F4020 | 1-1/2" SPANNER WRENCH FASTPIPE, Two Required, non returnable | 10.89
F4022-10 | 1-1/2" PIPE CLIP FASTPIPE 10 PACK | 30.51
F4051 | 1-1/2" CROSS FITTING FASTPIPE | 54.49
F4065 | 1-1/2" FASTPIPE PARTS ORING | 1.63
F4065V | 1-1/2" PARTS ORING GREEN VITON RK | 0.64
F4067 | 1-1/2" CONE NUT, SPARE PARTS | 3.14
F4068 | 1-1/2" COLLET, SPARE PARTS | 0.8
F4069 | 1-1/2" BACKER, SPARE PARTS | 0.67
F4070 | 1-1/2" FASTPIPE STAINLESS STEEL BITE RING | 0.29
F4110 | 1-1/2" SADDLE DROP X 3/4" FASTPIPE | 34.87
F4206 | 1-1/2" REDUCTION TEE X 3/4" FASTPIPE | 45.77
F4207 | 1-1/2" REDUCTION TEE X 1" FASTPIPE | 46.86
F4210 | 1-1/2" SADDLE DROP X 1" FASTPIPE | 34.98
F4210C | 1-1/2" and 3" FASTPIPE SADDLE DROP GASKET BLACK | 2.17
F4218 | 1-1/2" FASTPIPE X 1" NPT MALE THREADED NIPPLE | 43.55
F4221 | 1-1/2" X 1" REDUCTION UNION FASTPIPE | 29.42
F4418 | 1-1/2" FASTPIPE X 1-1/2" NPT MALE THREADED NIPPLE | 43.59
F4420 | 1-1/2" FASTPIPE X 1-1/2" NPT FEMALE THREADED NIPPLE | 46.86
F5000 | 2" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE BLUE, non returnable | 104.99
F5000CAN | 2" BLUE ALUMINUM TUBING - USA - 19"8" SECTION, non returnable | 129.99
F5000Green | 2" green ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE green, non returnable | 104.99
F5002 | 2" UNION FASTPIPE | 37.05
F5003 | 2" 90 DEGREE ELBOW FASTPIPE | 43.59
F5004 | 2" 45 DEGREE ELBOW FASTPIPE | 49.04
F5005 | 2" EQUAL TEE FASTPIPE | 59.94
F5006 | 2" END CAP FASTPIPE | 52.31
F5020 | 2" SPANNER WRENCH FASTPIPE 2 required, non returnable | 49.04
F5022-10 | 2" PIPE CLIP FASTPIPE 10 PACK | 38.14
F5051 | 2" CROSS FITTING FASTPIPE | 70.84
F5065 | 2" FASTPIPE ORING | 2.18
F5070 | 2" FASTPIPE STAINLESS STEEL BITE RING | 3.26
F5110 | 2" SADDLE DROP X 3/4" FASTPIPE | 35.96
F5206 | 2" REDUCTION TEE X 3/4" FASTPIPE | 58.85
F5207 | 2" REDUCTION TEE X 1" FASTPIPE | 59.94
F5210 | 2" SADDLE DROP X 1" FASTPIPE | 36.07
F5210C | 2" FASTPIPE SADDLE DROP GASKET (GRAY) | 2.17
F5418 | 2" FASTPIPE X 1-1/2" NPT MALE THREADED NIPPLE | 49
F5421 | 2" X 1-1/2" REDUCTION UNION FASTPIPE | 40.32
F5518 | 2" FASTPIPE X 2" NPT MALE THREADED NIPPLE | 49.04
FI0028 | 3-1/8" TUBING, STRUT CUSHION CLAMP 3.12 O.D. FASTPIPE 3" ST-080 T312, 80mm | 4.57
FI0030 | 3" HANGER - FOR 3/8-16 THREADED ROD | 2.72
FI0031 | 4" HANGER - FOR 3/8-16 THREADED ROD | 4.35
FI0032 | 6" HANGER - FOR 3/8-16 THREADED ROD | 6.53
FI0035 | 4" TUBING, STRUT CUSHION CLAMP 4.00 O.D. FASTPIPE 4" | 7.3
FI0040 | 6" TUBING, STRUT CUSHION CLAMP 6.00 O.D. FASTPIPE 6" | 11.98
FI0148 | PIPE CUTTER 2"- 3-1/2 ", non returnable | 189.99
FI0149 | MANUAL PIPE CUTTER 4" THRU 6", non returnable | 299.99
FI0153 | DEBUR TOOL 2-1/2" AND 3", ELECT DRILL REQ | 349.99
FI0154 | PIPE DEBURRING TOOL / PIPE MARKER 4", ELECT DRILL REQ | 399.99
FI0155 | PIPE DEBURRING TOOL / PIPE MARKER 6", ELECT DRILL REQ | 599.99
FI7000 | 3" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE INDUSTRIAL BLUE, non returnable | 179.99
FI7002 | 3" UNION FASTPIPE INDUSTRIAL | 80.65
FI7003 | 3" 90 DEGREE ELBOW FASTPIPE INDUSTRIAL | 93.73
FI7005 | 3" EQUAL TEE FASTPIPE INDUSTRIAL | 126.43
FI7006 | 3" END CAP FASTPIPE INDUSTRIAL | 79.56
FI7012 | 3" SADDLE DROP FASTPIPE X 1/2" FEMALE NPT INDUSTRIAL | 47.86
FI7020 | 3" SPANNER WRENCH FASTPIPE--Two Required, non returnable | 76.29
FI7022 | 3" PIPE CLIP FASTPIPE , EACH | 5.99
FI7065 | 3" FASTPIPE INDUSTRIAL ORING | 3.26
FI7070 | 3" STAINLESS STEEL BITE RING FASTPIPE INDUSTRIAL | 4.35
FI7110 | 3" SADDLE DROP X 3/4" FASTPIPE INDUSTRIAL | 46.86
FI7112 | 3" SADDLE DROP FASTPIPE X 3/4" FEMALE NPT INDUSTRIAL | 47.91
FI7210 | 3" SADDLE DROP X 1" FASTPIPE INDUSTRIAL | 46.97
FI7210C | 3" FASTPIPE SADDLE DROP GASKET RED COLOR | 2.17
FI7312 | 3" SADDLE DROP FASTPIPE X 1" FEMALE NPT INDUSTRIAL | 47.95
FI7509 | 3" REDUCING TEE X 2" FEMALE NPT FASTPIPE INDUSTRIAL | 130.79
FI7718 | 3" FASTPIPE X 3" NPT MALE THREADED NIPPLE INDUSTRIAL | 51.22
FI7900 | 3" FLANGE FASTPIPE COMPRESSION X FLANGE 4 HOLE, 7-1/2" OD, ANSI 150# | 108.99
FI7905 | 3" FASTPIPE FLANGE GASKET AND BOLT SET, bolts are 2-3/4" Long, ANSI 150#, BOLT HOLE | 28.33
FI8000 | 4" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE INDUSTRIAL, non returnable | 299.99
FI8002 | 4" UNION FASTPIPE INDUSTRIAL | 87.19
FI8003 | 4" 90 DEGREE ELBOW FASTPIPE INDUSTRIAL customer will need to purchase separately (2) FI8002 to ... | 76.29
FI8004 | 4" 90 DEGREE ELBOW FASTPIPE INDUSTRIALcustomer will need to purchase separately (2) FI8002 to c... | 76.29
FI8005 | 4" EQUAL TEE FASTPIPE INDUSTRIAL customer will need to purchase separately (3) FI8002 to connec... | 98.09
FI8006 | 4" END CAP FASTPIPE INDUSTRIALcustomer will need to purchase separately (1) FI8002 to connect to... | 98.09
FI8076 | 4" INNER SEAL FASTPIPE INDUSTRIAL | 43.59
FI8221 | 4" UNION PLUG X 2' FEMALE NPT FASTPIPE INDUSTRIAL customer will need to purchase separately (1) ... | 54.49
FI8312 | 4" SADDLE DROP FASTPIPE X 1' FEMALE NPT / or 1' Compression FASTPIPE INDUSTRIAL | 76.29
FI8321 | 4" UNION PLUG X 3' FEMALE NPT FASTPIPE INDUSTRIAL customer will need to purchase separately (1) ... | 55.58
FI8888 | 4" BUTTERFLY VALVE FASTPIPE INDUSTRIALcustomer will need to purchase separately (2) FI8002 to c... | 708.49
FI8900 | 4" FLANGE , ANSI 150#, 9.0' OD X 8 BOLT FASTPIPE INDUSTRIAL customer will need to purchase separ... | 119.89
FI8905 | 4" FASTPIPE FLANGE GASKET AND BOLT SET, bolts are 3' Long, ANSI 150#, 8 BOLT HOLE | 46.86
FI9000 | 6" ALUMINUM TUBING 19 FT 8 INCHES LONG, non returnable | 599.99
FI9002 | 6" UNION FASTPIPE INDUSTRIAL | 119.89
FI9003 | 6" 90 DEGREE ELBOW FASTPIPE INDUSTRIAL customer will need to purchase separately (2) FI9002 to... | 152.59
FI9004 | 6" 45 DEGREE ELBOW FASTPIPE INDUSTRIAL customer will need to purchase separately (2) FI9002 to ... | 152.59
FI9005 | 6" EQUAL TEE FASTPIPE INDUSTRIAL customer will need to purchase separately (3) FI9002 to connec... | 217.99
FI9006 | 6" END CAP FASTPIPE INDUSTRIAL customer will need to purchase separately (1) FI9002 to connect t... | 141.69
FI9020 | CORDLESS LUGGING TOOL, FASTPIPE, 4" AND 6", (NEED LUG JAW SET FI9021)non returnable | 2179.99
FI9021 | LUG TOOL JAW SET, 4" and 6" FASTPIPE INDUSTRIAL, with HEX DRIVER, non returnable | 980.99
FI9076 | 6" INNER SEAL FASTPIPE INDUSTRIAL | 65.39
FI9221 | 6" UNION PLUG X 2' FEMALE NPT FASTPIPE INDUSTRIAL customer will need to purchase separately (1) ... | 108.99
FI9312 | 6" SADDLE DROP FASTPIPE X 1' FEMALE NPT or 1' Compression FASTPIPE INDUSTRIAL | 87.19
FI9321 | 6" UNION PLUG X 3" FEMALE NPT FASTPIPE INDUSTRIAL customer will need to purchase separately (1)... | 111.17
FI9821 | 6" X 4" REDUCER FASTPIPE INDUSTRIAL customer will need to purchase separately (1) FI9002 and (1... | 326.99
FI9900 | 6" FLANGE, ANSI 150#, 11.0' OD X 8 BOLT FASTPIPE INDUSTRIAL (NEED (1) FI9002 TO COMPLETE ASSEMBLY) | 163.49
FI9905 | 6" FASTPIPE FLANGE GASKET AND BOLT SET, bolts are 3-1/4' Long, 8 BOLT HOLE | 57.76
FI9999 | 6" BUTTERFLY VALVE FASTPIPE INDUSTRIAL customer will need to purchase separately (2) FI9002 to ... | 965.73
FT-2005T | TRANSAIR 6604 25 00 25MM EQUAL TEE | 47.95
FT-2218T | TRANSAIR 6605 25 35 25MM X 1" MALE NPT | 47.95
H-100-75-3 | 1” MANIFOLD X (3) 3/4 OUTLETS | 76.99
H-100-75-4 | 1” MANIFOLD X (4) 3/4 OUTLETS | 87.99
H-100-75-5 | 1” MANIFOLD X (5) 3/4 OUTLETS | 98.99
H-50-25-4 | 1/2 MANIFOLD X (4) 1/4 OUTLETS | 43.99
H-50-25-5 | 1/2 MANIFOLD X (5) 1/4 OUTLETS | 54.99
H-50-50-4 | 1/2 MANIFOLD X (4) 1/2 OUTLETS | 65.99
H-50-50-5 | 1/2 MANIFOLD X (5) 1/2 OUTLETS | 76.99
H-50B-50-2 | 1/2 MANIFOLD X (2) 1/2 OUTLETS, one end blank, inert gas, wall spacing for Fastpipe 3/4 and 1" | 40.69
H-75-50-3 | 3/4 MANIFOLD X (3) 1/2 OUTLETS | 65.99
H-75-50-4 | 3/4 MANIFOLD X (4) 1/2 OUTLETS | 76.99
H-75-50-5 | 3/4 MANIFOLD X (5) 1/2 OUTLETS | 87.99
H-75-75-3 | 3/4 MANIFOLD X (3) 3/4 OUTLETS | 76.99
H-75-75-4 | 3/4 MANIFOLD X (4) 3/4 OUTLETS | 87.99
H-75-75-5 | 3/4 MANIFOLD X (5) 3/4 OUTLETS | 98.99
K215-218 GAUGE | SQUARE PRESSUE GAUGE FOR K93215-K93218, K96075 FILTER REGULATOR | 10.89
K215-BOWL | BOWL FOR 3/8" K93215 | 9.8
K215-CAP | ADJUSTMENT CAP FOR K93215 FILTER REGULATOR | 9.8
K215-FILTER | FILTER ONLY FOR K93215 3/8 | 5.76
K215-PLUNGER | PLUNGER DIAPHRAGM FOR 3/8" K93215 | 9.8
K216-217 FILTER | FILTER ONLY FOR K93216 AND K93217 and K96075 Vert | 8.25
K216-218 BOWL | BOWL FOR 1/2" K93216 THRU K93218 and K96075 Vert | 10.89
K216-218 CAP | ADJUSTMENT CAP FOR K93216-218 FILTER REGULATOR and K96075 Vert | 10.89
K216-218 PLUNGER | PLUNGER DIAPHRAGM FOR K93216-218 and K96075 Vert | 10.89
K218-FILTER | FILTER ONLY FOR K93218 1" | 10.89
K2951-FILTER | REPLACEMENT FILTER FOR K95150 1-1/2" | 43.59
K2952-FILTER | REPLACEMENT FILTER FOR K95200 2" | 76.29
K3000 | AUTO TIRE INFLATOR | 199.99
K3020 | AUTO TIRE INFLATOR..+20 psi OPTION..Get SERIAL NUMBER hold +20 for 5 SECONDS..Get NUMBER OF ... | 199.99
K30T | REGULATOR TO LUBRICATOR MOUNT BRACKET 3000 SERIES | 8.92
K35050 | 1/2" NPT BALL VALVE, BRASS, FEMALE X FEMALE | 9.8
K35050M | 1/2" NPT BALL VALVE, BRASS, MALE X FEMALE | 9.8
K35075 | 3/4" NPT BALL VALVE, BRASS, FEMALE X FEMALE | 10.89
K35075M | 3/4" NPT BALL VALVE, BRASS, MALE X FEMALE | 11.98
K35100 | 1" NPT BALL VALVE, BRASS, FEMALE X FEMALE | 16.34
K35100M | 1" NPT BALL VALVE, BRASS, MALE X FEMALE | 17.43
K35150 | 1-1/2" NPT BALL VALVE, BRASS, FEMALE X FEMALE | 38.14
K35200 | 2" NPT BALL VALVE, BRASS, FEMALE X FEMALE 600WOG | 49.04
K35300 | 3" NPT BALL VALVE, BRASS, FEMALE X FEMALE 400WOG | 174.39
K40T | REGULATOR TO LUBRICATOR MOUNT BRACKET 4000 SERIES | 8.18
K50T | REGULATOR TO LUBRICATOR MOUNT BRACKET 4000-06 SERIES | 8.18
K5220 | PLUG, 1/4" FEMALE NPT, INDUSTRIAL STYLE, FITS 30 CFM BODY | 0.99
K5221 | PLUG, 1/4" MALE NPT, INDUSTRIAL STYLE, FITS 30 CFM BODY | 0.99
K5226 | QUICK COUPLER PACK (3) K5220 1/4 FEMALE, (3) K5221 1/4 MALE, FITS 30 CFM BODY | 4.99
K6220 | COUPLER, 1/4" FEMALE NPT PUSH TO CONNECT INDUSTRIAL STYLE 30 CFM BODY | 6.99
K6221 | COUPLER, 1/4" MALE NPT PUSH TO CONNECT INDUSTRIAL STYLE 30 CFM BODY | 6.99
K6241 | COUPLER, 1/2" MALE NPT PUSH TO CONNECT INDUSTRIAL STYLE 30 CFM BODY | 7.99
K7220 | COUPLER, 1/4" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 30 CFM BODY | 8.95
K7221 | COUPLER, 1/4" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 30 CFM BODY | 8.99
K7241 | COUPLER, 1/2" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 30 CFM BODY | 9.99
K8220 | PLUG, 1/4" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 2.95
K8221 | PLUG, 1/4" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 2.99
K8230 | PLUG, 3/8" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 3.95
K8231 | PLUG, 3/8" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 3.99
K8240 | PLUG, 1/2" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 4.49
K8241 | PLUG, 1/2" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 4.45
K90215 | AIR FILTER UNIT , 3/8" NPT PORTS (AF3000-03) with bracket | 21.99
K90216 | AIR FILTER UNIT , 1/2" NPT PORTS (AF4000-04) with bracket | 29.99
K90217 | AIR FILTER UNIT , 3/4" NPT PORTS (AF4000-06) with bracket | 34.99
K91215 | LUBRICATOR UNIT , 3/8" NPT PORTS (AIL3000-03) with bracket | 34.99
K91216 | LUBRICATOR UNIT , 1/2" NPT PORTS (AIL4000-04) with bracket | 39.99
K91217 | LUBRICATOR UNIT , 3/4" NPT PORTS (AIL4000-06) with bracket | 49.99
K9230 | COUPLER, 3/8" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 17.45
K9231 | COUPLER, 3/8" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 17.49
K9240 | COUPLER, 1/2" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 17.95
K9241 | COUPLER, 1/2" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 17.99
K93210 | 1/4" INLINE REGULATOR WITH GAUGE, 1/4" NPT PORTS (AIR2000-02) | 27.99
K93211 | 3/8" INLINE REGULATOR WITH GAUGE, 3/8" NPT PORTS (AIR 3000-03) | 29.99
K93212 | 1/2" INLINE REGULATOR WITH GAUGE, 1/2" NPT PORTS (AIR4000-04) | 35.99
K93215 | 3/8" FILTER REGULATOR UNIT WITH GAUGE, 3/8" NPT PORTS | 47.99
K93216 | 1/2" FILTER REGULATOR UNIT WITH GAUGE, 1/2" NPT PORTS | 69.99
K93217 | 3/4" FILTER REGULATOR UNIT WITH GAUGE, 3/4" NPT PORTS | 89.99
K93218 | 1" FILTER REGULATOR UNIT WITH GAUGE, 1" NPT PORTS | 99.95
K94038 | AUTO DRAIN UNIT WITH 3/8 NPT FEMALE THREADS | 34.99
K94150 | do not sell 1-1/2" NPT REGULATOR AR-15 WITH NPT GAUGE THREAD, PSI GAUGE....include extra d... | 399.99
K94200 | do not sell 2" NPT REGULATOR AR-20 WITH NPT GAUGE..include extra diaphragm set, large an... | 499.99
K95150 | 1-1/2" NPT FILTER AF-15 with auto drain..(include MOUNT BRACKET and 4" PIPE NIPPLE) | 359.99
K95200 | 2" NPT FILTER AF-20 with auto drain..(include MOUNT BRACKET and 5" PIPE NIPPLE) | 459.99
K96075 | 3/4" VERTICAL FILTER REGULATOR UNIT WITH GAUGE, 3/4" NPT PORTS | 99.99
M_3800-10 | BOXED KIT M3800 MASTER KIT..ASSEMBLE WITH PARTS FROM RICH FLUID..1/2" (1216MM) TUBING 100 FT..(... | 0
M_3800-20 | BOXED KIT ..(1) M38220 ALUM MANIFOLD BLOCK..(3) 90120 ALUM BLOCK..(4) 50135 PLUG..(3) 50120 VALV... | 0
M3810 | 1/2" MAXLINE SINGLE PORT OUTLET IN CLAMSHELL 1/4" NPT OUTLET PORT | 33.99
M38220 | MANIFOLD BLOCK ONLY 3/8" PORTS, MAXLINE LONG | 10.89
M6026 | 1/2" MAXLINE TUBING 100FT ROLL, includes bevel tool and cutter, non returnable | 84.99
M6026G | 1/2" MAXLINE TUBING 100FT ROLL, GREEN, includes bevel tool and cutter, non returnable | 89.37
M6027 | 1/2" MAXLINE TUBING 300FT ROLL, includes bevel tool and cutter, non returnable | 239.99
M6027G | 1/2" MAXLINE TUBING 300FT ROLL, GREEN, includes bevel tool and cutter, non returnable | 250.69
M6030 | 3/4" MAXLINE TUBING 100FT ROLL, includes bevel tool and cutter, non returnable | 174.99
M6030G | 3/4" MAXLINE TUBING 100FT ROLL, GREEN, includes bevel tool and cutter, non returnable | 178.75
M6031 | 3/4" MAXLINE TUBING 300FT ROLL, includes bevel tool and cutter, non returnable | 439.99
M6031G | 3/4" MAXLINE TUBING 300FT ROLL, GREEN, includes bevel tool and cutter, non returnable | 468.69
M6032 | 1" MAXLINE TUBING 100FT ROLL includes bevel tool and cutter, non returnable | 229.99
M6032G | 1" MAXLINE TUBING 100FT ROLL, GREEN, includes bevel tool and cutter, non returnable | 239.79
M6033 | 1" MAXLINE TUBING 300FT ROLL, includes bevel tool and cutter | 599.99
M6033G | 1" MAXLINE TUBING 300FT ROLL, GREEN includes bevel tool and cutter, non returnable | 621.29
M6520 | 2" MAXLINE TUBING 200FT ROLL, does not include deburr tool, crimp tool or cutter, non returnable | 979.99
M7510 | 3/4" MAXLINE SINGLE PORT OUTLET KIT IN CLAMSHELL, 1/2" NPT OUTLET PORT | 39.99
M7510-SPACER | SPACER PLATE FOR M81010 BLOCK, 1/4" THICK | 10.89
M7600-10 | BOXED KIT--FOR M7500 MASTER KIT..ASSEMBLE WITH PARTS FROM RICH FLUID..3/4" (2025MM) X 100 FT TUB... | 0
M7600-20 | (3) M81010 ALUM BLOCKS, (3) 50136 1/2" PLUGS, (3) 50120 DRAIN VALVES..PARTS FOR M7500 MADE BY RI... | 0
M7680-80 | BOXED KIT-- M7580 inner parts | 0
M8001 | 1/2" MAXLINE X 3/8 MALE NPT STRAIGHT FITTING | 7.19
M8002 | 1/2" MAXLINE X 1/2" MALE NPT STRAIGHT FITTING | 7.62
M8003 | 3/4" MAXLINE X 3/4" MALE NPT FITTING | 16.78
M8004 | 1" MAXLINE X 1" MALE NPT STRAIGHT FITTING | 20.16
M8005 | 3/4" MAXLINE X 1/2" MALE NPT FITTING | 15.58
M8006 | 1/2" MAXLINE X 1/2" FEMALE NPT STRAIGHT FITTING | 8.71
M8007 | 3/4" MAXLINE X 3/4" FEMALE NPT STRAIGHT FITTING | 18.52
M8009 | 1/2" MAXLINE SINGLE PORT ELBOW, 1/2" FEMALE NPT | 13.07
M8010 | 1/2" EQUAL TEE MAXLINE | 13.07
M8011 | 3/4" EQUAL TEE MAXLINE | 23.97
M8012 | 1" EQUAL TEE MAXLINE | 30.51
M8014 | 3/4" REDUCING TEE FITTING, DROP LEG 1/2" MAXLINE | 23.97
M8015 | 1" MAXLINE X 3/4" MALE NPT STRAIGHT FITTING | 19.61
M8016 | 1" REDUCING TEE FITTING, DROP LEG 1/2" MAXLINE | 30.51
M8018 | 1" REDUCING TEE FITTING, DROP LEG 3/4" MAXLINE | 31.6
M8019 | 1/2" REDUCING TEE X 1/2" FEMALE NPT MAXLINE | 13.07
M8020 | 1" X 1/2" REDUCING UNION FITTING MAXLINE | 23.97
M8021 | 1/2" UNION FITTING MAXLINE | 9.8
M8022 | 3/4" UNION FITTING MAXLINE | 19.07
M8023 | 1" UNION FITTING MAXLINE | 25.06
M8024 | 3/4" X 1/2" REDUCING UNION FITTING MAXLINE | 18.52
M8025 | 1" X 3/4" REDUCING UNION FITTING MAXLINE | 25.06
M8026 | 1/2" END CAP FITTING MAXLINE | 13.07
M8027 | 3/4" END CAP FITTING MAXLINE | 14.71
M8028 | 1" END CAP FITTING MAXLINE | 17.98
M8030 | 1/2" MAXLINE X 1/2" MALE NPT FITTING Stainless Steel | 16.34
M8031 | 3/4" MAXLINE X 3/4" MALE NPT FITTING Stainless Steel | 30.51
M8032 | 1" MAXLINE X 1" MALE NPT FITTING Stainless Steel | 42.5
M8033 | 1/2" EQUAL TEE MAXLINE Stainless Steel | 18.52
M8034 | 3/4" EQUAL TEE MAXLINE Stainless Steel | 37.05
M8035 | 1" EQUAL TEE MAXLINE Stainless Steel | 49.04
M8038 | 1/2" INLINE HAND VALVE MAXLINE standard handle | 18.52
M8038TEE | 1/2" INLINE HAND VALVE MAXLINE blue tee handle design | 17.43
M8039 | 3/4" INLINE HAND VALVE MAXLINE | 35.96
M8040 | 1" INLINE HAND VALVE MAXLINE | 43.59
M8041 | 1/2" CROSS FITTING MAXLINE | 16.89
M8042 | 3/4" CROSS FITTING MAXLINE | 27.24
M8043 | 1" CROSS FITTING MAXLINE | 37.05
M8047 | 1/2" SPLIT RING MAXLINE | 1.19
M8048 | 3/4" SPLIT RING MAXLINE | 1.63
M8049 | 1" SPLIT RING MAXLINE | 1.85
M8051 | 1", 3/4", 1/2" MAXLINE-DURATEC TUBING CUTTER (RED), non returnable | 24.52
M8054 | 1/2" ORING MAXLINE | 1.08
M8055 | 3/4" O-RING MAXLINE | 1.41
M8056 | 1" ORING MAXLINE | 1.52
M8064 | 1/2" PIPE CLIP MAXLINE 10/PACK | 10.89
M8065 | 3/4" PIPE CLIP MAXLINE 10/PACK | 17.43
M8066 | 1" PIPE CLIP MAXLINE 10/PACK | 18.52
M8067 | 3/4" ELBOW MAXLINE | 21.79
M8068 | 1" ELBOW MAXLINE | 28.33
M8078 | 3/4" REDUCING TEE, 1/2" FEMALE NPT DROP LEG MAXLINE | 20.7
M8080 | 1/2" ELBOW FITTING MAXLINE | 9.8
M8085 | 1/2" MAXLINE X 1/2" MALE NPT ELBOW FITTING | 6.82
M8086 | 3/4" MAXLINE X 1/2" MALE NPT ELBOW FITTING | 17.98
M8088 | 3/4" MAXLINE X 3/4" MALE NPT ELBOW FITTING | 18.52
M8089 | 1" REDUCING TEE, 3/4" FEMALE NPT DROP LEG, MAXLINE | 28.33
M8090 | 1" MAXLINE X 1" MALE NPT ELBOW FITTING | 20.7
M8091 | TUBING CUTTER MAXLINE 1/2" AND 3/4", non returnable | 11.98
M8095 | 1/2-3/4-1" MAXLINE BEVELING TOOL, non returnable | 8.71
M8096 | MAXLINE BENDER TOOL KIT, WITH DIES FOR 1/2, 3/4, 1", non returnable | 158.04
M8097 | MAXLINE STRAIGHTENING TOOL, 7 WHEEL, non returnable | 152.59
M8098 | PIPE WRAP TAPE 2" X 100 FT 10 MIL, non returnable | 17.43
M81010 | SINGLE PORT OUTLET, 1/2" npt outlet BLOCK ONLY | 16.34
M8525 | 2" UNION FITTING MAXLINE | 65.39
M8530 | 2" TEE FITTING MAXLINE | 76.29
M8531 | 2" REDUCING TEE X 1" FEMALE NPT FITTING MAXLINE | 76.29
M8535 | 2" ELBOW FITTING MAXLINE | 65.39
M8541 | 2" MAXLINE X 1" MALE NPTF STRAIGHT FITTING | 61.03
M8542 | 2" MAXLINE X 2" MALE NPTF STRAIGHT FITTING | 65.39
M8549 | 2" MAXLINE CRIMP SLEEVE | 11.98
M8551 | 2" MAXLINE CUTTER, non returnable | 43.59
M8559 | 2" MAXLINE ORING | 5.44
M8590 | 2" MAXLINE CRIMPING TOOL, non returnable if purchased as new | 501.39
M8595 | 2" MAXLINE DEBURR TOOL, non returnable | 42.5
P-ALR TU63L6 | must check price before selling 2-1/2" ALUMINUM TUBING 19 FT 8 INCHES LONG ALR | 130.79
R-03050 | HOSE REEL, 3/8 X 50 FT, 1/2" INLET X 1/4" NPT OUTLET, BLUE, DUAL ARM, ALL METAL, RAPIDAIR | 174.99
R-03075 | HOSE REEL, 3/8 X 75 FT, 1/2" INLET X 1/4" NPT OUTLET, BLUE, DUAL ARM, ALL METAL, RAPIDAIR | 229.99
R-05050 | HOSE REEL, 1/2 X 50 FT, 1/2" INLET X 1/2" NPT OUTLET, BLUE, DUAL ARM, ALL METAL, RAPIDAIR | 219.99
R-05100 | HOSE REEL, 1/2 X 100 FT, 1/2" INLET X 1/2" NPT OUTLET, BLUE, DUAL ARM, ALL METAL, RAPIDAIR | 429.99
R-7650-OLP_ | HOSE REEL, HEAVY DUTY 3/8" x 50 FT REELCRAFT MADE IN USA, 48 LBS, 1/2" FEM INLET, 1/4" MALE NPT... | 299.99
R-7850-OLP121 | HOSE REEL, HEAVY DUTY 1/2" x 50 FT REELCRAFT MADE IN USA, 51 LBS, 1/2" FEM INLET, 1/2" MALE NPT... | 374.99
R-82100-OLP_ | HOSE REEL, HEAVY DUTY 1/2" x 100 FT REELCRAFT MADE IN USA, 101 LBS, 1/2" FEM INLET, 1/2" MALE N... | 589.99
R-L-4050-163-3_ | CORD REEL, HEAVY DUTY, 50 FT, SINGLE PLUG END REELCRAFT MADE IN USA, 22 LBS | 329.99
ST010T062 | 1/2" MAXLINE STRUT CUSHION CLAMP .62 O.D 5/8" TUBING | 2.28
ST035NP100 | 1" MAXLINE STRUT CUSHION CLAMP 1" N. PIPE 1.31 O.D. | 2.66
ST068T250 | 2" MAXLINE STRUT CUSHION CLAMP 63MM -2-1/2" ALUM PIPE | 3.98
T0102 | THERMAL PEX (2) 1' PEX LINES, BY THE FOOT (add sales tax) | 15.94
90500 | RAPIDAIR MASTER KIT ( 1 MANIFOLD, 2 OUTLETS, 100 FT TUBING) | 139.99
90500_NORTHERN | RAPIDAIR MASTER KIT ( 1 MANIFOLD, 2 OUTLETS, 100 FT TUBING) NORTHERN TOOL ONLY | 139.99
90500_TSC | RAPIDAIR MASTER KIT 100FT | 139.99
90501 | RAPIDAIR MASTER KIT (1 MANIFOLD, 2 OUTLETS, 100 FT TUBING) PLUS 2 U. ELBOWS, 2 TEES, 1 PKG PIPE ... | 159.99
D8064-10 | 1/2" DURATEC PIPE CLIP PACK OF 10 | 10.89
D8065-10 | 3/4" DURATEC PIPE CLIP PACK OF 10 | 17.43
D8066-10 | 1" DURATEC PIPE CLIP PACK OF 10 | 21.79
D8101 | 1/2" DURATEC OUTLET KIT, 1/2" OUTLET PORT..M81010 ALUM BLOCK, 1/2" BRASS PLUG.. 3/8"' DRAIN, D80... | 38.14
D8101V | 1/2" DURATEC OUTLET KIT, 1/2" OUTLET PORT WITH SHUTOFF..M81010 ALUM BLOCK, 1/2" BRASS PLUG.. 3/... | 47.95
D8200 | 1/2" DUAL PORT OUTLET (F2025 (1/2") + D8002) DURATEC | 43.59
D8200V | 1/2" DUAL PORT OUTLET W/ SHUTOFF ( F2025 (1/2") + D8002 + 1/2 M X F BALL VALVE) DURATEC | 51.22
D8201 | 3/4" DUAL PORT OUTLET (F2026 (3/4") + D8003) DURATEC | 49.04
D8201V | 3/4" DUAL PORT OUTLET W/ SHUTOFF ( F2026 (3/4") + D8003 + 3/4 M X F BALL VALVE) DURATEC | 57.76
F0136 | 3/4" TOOL KIT FASTPIPE (2) F1020 SPANNER, F0140 CUTTER, F0142 DEBURR, SPRAY BOTTLE, non return... | 57.76
F0137 | 1" TOOL KIT FASTPIPE (2) F2020 SPANNER, F0140 CUTTER, F0142 DEBURR, SPRAY BOTTLE, non returnable | 59.94
F0138 | 1-1/2" TOOL KIT FASTPIPE, (2) F4020 SPANNER, F0140 CUTTER, F0141 LARGE DEBURR, SPRAY BOTTLE, non... | 163.49
F0145 | 2" TOOL KIT FASTPIPE, (2) F5020 SPANNER, F0140 CUTTER, F0141 LARGE DEBURR, SPRAY BOTTLE, non ret... | 217.99
F0230 | 3/8 PUSH ON JUMPER HOSE, 3 FT (1-50610 1/4 nipple, 1-F0243 1/4 fem, 1-F0242 1/2 male, instructi... | 14.16
F0238-160 | 3/8 PUSH ON RUBBER AIR HOSE, BLACK, 160 ft ROLL | 217.99
F0238-FT | 3/8 PUSH ON RUBBER AIR HOSE, BLACK SOLD BY THE FOOT | 2.07
F0250-160 | 1/2 PUSH ON RUBBER AIR HOSE, BLACK 160 ft roll | 272.49
F0250-FT | 1/2 PUSH ON RUBBER AIR HOSE, BLACK sold by the foot | 2.5
F1007 | 3/4" REDUCING TEE X 1/4" FEMALE NPT (F1005-1/4") FASTPIPE | 29.33
F1009 | 3/4" REDUCING TEE X 1/2" FEMALE NPT (F1005-1/2") FASTPIPE | 29.38
F1014 | 3/4" FASTPIPE SINGLE PORT OUTLET KIT (M81010, F1018, 50136, 50120, M7510-SPACER, Yellow Inst Sh... | 34.87
F1024 TOP KIT | FASTPIPE 3/4 OUTLET KIT CONVERSION TO SHUTOFF (F3400-F3411-F3450-F1018-K35050M) | 21.8
F1024V | 3/4" WALL OUTLET WITH SHUTOFF, 1/2" NPT OUTLET PORT (2X) (F2025 (1/2" NPT) +1/2 M X F BALL VALVE... | 59.49
F1024W | 3/4" THRU WALL OUTLET KIT (M81010+50136+50120+F1018+50607 ELBOW 1/2 X 1/2 brass) | 46.86
F1073 | 3/4" 90 DEGREE REDUCING ELBOW X 1/4" FEMALE NPT (F1003-1/4") FASTPIPE | 26.06
F1093 | 3/4" 90 DEGREE REDUCING ELBOW X 1/2" FEMALE NPT (F1003-1/2") FASTPIPE | 27.2
F1111 | 3/4" VALVE KIT (3/4" BALL VALVE + (2) F1118) FASTPIPE | 54.49
F1221 | 3/4" REDUCING UNION X 1/2" FEMALE NPT (F1002-1/2") FASTPIPE | 21.79
F1863CAN | 3/4" BLUE ALUMINUM TUBING - USA - 7"6" SECTION | 19.99
F2000-12 | 1" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE 12 PACK | 599.99
F2007 | 1" REDUCING TEE X 1/4" FEMALE NPT (F2005-1/4") FASTPIPE | 35.87
F2008 | 1" REDUCING TEE X 3/4" FEMALE NPT (F2005-3/4") FASTPIPE | 35.96
F2009 | 1" REDUCING TEE X 1/2" FEMALE NPT (F2005-1/2") FASTPIPE | 35.92
F2011 | 1" SADDLE DROP X 1/4" FEMALE NPT (F2210-1/4") FASTPIPE | 34.78
F2012 | 1" SADDLE DROP X 1/2" FEMALE NPT (F2210-1/2") FASTPIPE | 34.83
F2014 | 1" FASTPIPE SINGLE PORT OUTLET KIT (M81010, F2018, 50136, 50120, M7510-SPACER, Yellow Inst Sh... | 35.96
F2021 | 1" TOOLSET FASTPIPE, (2) F2020 SPANNER, DEBURR TOOL | 29.97
F2024 TOP KIT | FASTPIPE OUTLET KIT CONVERSION TO SHUTOFF (F3100-F3111-F3175-F2118-K35075M) | 25.07
F2024V | 1" WALL OUTLET WITH SHUTOFF, 1/2" NPT OUTLET PORT (2X) (F2026 (3/4' NPT) +3/4 M X F BALL VALVE +... | 59.99
F2024W | 1" THRU WALL OUTLET KIT (M81010+50136+50120+F2018+50607 ELBOW 1/2 X 1/2 brass) | 51.22
F2073 | 1" 90 DEGREE REDUCING ELBOW X 1/4" FEMALE NPT (F2003-1/4") FASTPIPE | 32.6
F2083 | 1" 90 DEGREE REDUCING ELBOW X 3/4" FEMALE NPT (F2003-3/4") FASTPIPE | 32.69
F2093 | 1" 90 DEGREE REDUCING ELBOW X 1/2" FEMALE NPT (F2003-1/2") FASTPIPE | 32.65
F2112 | 1" SADDLE DROP X 3/4" FEMALE NPT (F2210-3/4") FASTPIPE | 34.87
F2221 | 1" REDUCING UNION X 1/2" FEMALE NPT (F2002-1/2") FASTPIPE | 28.29
F2222 | 1" VALVE KIT (1" BALL VALVE + (2) F2218) FASTPIPE | 68.66
F2231 | 1" REDUCING UNION X 3/4" FEMALE NPT (F2002-3/4") FASTPIPE | 28.33
F28070 | 3/4" FASTPIPE MASTER KIT 90 FT, 3 OUTLETS COMBO UNIT 2 PACKAGES | 439.99
F28070 fitting box only | 3/4" FASTPIPE MASTER KIT 90 FT, fitting box only | 213.76
F28090 | 1" FASTPIPE MASTER KIT 90FT, 3 OUTLETS COMBO UNIT 2 PACKAGES | 649.99
F28090 fitting box only | 1" FASTPIPE MASTER KIT 90FT, fitting box only | 314.04
F28099 | 3/4" FASTPIPE MASTER KIT 235FT, 5 OUTLETS COMBO UNIT 2 PACKAGES | 899.99
F28235 | 1" FASTPIPE MASTER KIT 235FT, 5 OUTLETS COMBO UNIT 2 PACKAGES | 1099.99
F28235 fitting box only | 1" FASTPIPE MASTER KIT 235FT, fitting box only | 462.28
F2863-12 | 1" ALUMINUM PIPE (7" 6") FASTPIPE 12 PACK | 329.99
F2863CAN | 1" BLUE ALUMINUM TUBING - USA - 7"6" SECTION | 26.5
F4008 | 1-1/2" REDUCING TEE X 3/4" FEMALE NPT (F4207-3/4") FASTPIPE | 51.22
F4009 | 1-1/2" REDUCING TEE X 1/2" FEMALE NPT (F4207-1/2") FASTPIPE | 51.18
F4011 | 1-1/2" SADDLE DROP X 1/4" FEMALE NPT FASTPIPE (F4210-1/4") FASTPIPE | 39.14
F4012 | 1-1/2" SADDLE DROP X 1/2" FEMALE NPT FASTPIPE (F4210-1/2") FASTPIPE | 39.19
F4076 | 1-1/2" FASTPIPE PARTS KIT (1) O-RING (1) SS BITE RING | 4.35
F41005-15.5 | 1-1/2" TUBE ASSEMBLY (2 END CAPS , NO MOUNT CLIPS , 15-1/2 INCH PIECE PIPE 1-1/2" FASTPIPE) ... | 60.94
F41005-34.5 | 1-1/2" TUBE ASSEMBLY (2 END CAPS , NO MOUNT CLIPS , 34-1/2 INCH PIECE PIPE 1-1/2" FASTPIPE) ... | 63.12
F4112 | 1-1/2" SADDLE DROP X 3/4" FEMALE NPT FASTPIPE (F4210 + F3175 + F3111 + F3100) | 39.23
F4231 | 1-1/2" REDUCING UNION X 3/4" FEMALE NPT (F4221-3/4") FASTPIPE | 30.51
F4444 | 1-1/2" VALVE KIT (1-1/2" BALL VALVE + (2) F4418) FASTPIPE | 147.14
F4863 | 1-1/2" ALUMINUM PIPE (7" 6") FASTPIPE EACH | 43.59
F5008 | 2" REDUCING TEE X 3/4" FEMALE NPT (F5207-3/4") FASTPIPE | 58.85
F5009 | 2" REDUCING TEE X 1/2" FEMALE NPT (F5207-1/2") FASTPIPE | 58.81
F5011 | 2" SADDLE DROP X 1/4" FEMALE NPT FASTPIPE (F5210-1/4") FASTPIPE | 41.32
F5012 | 2" SADDLE DROP X 1/2" FEMALE NPT FASTPIPE (F5210-1/2") FASTPIPE | 41.37
F5076 | 2" FASTPIPE PARTS KIT (1) O-RING (1) SS BITE RING | 5.44
F5112 | 2" SADDLE DROP X 3/4" FEMALE NPT FASTPIPE (F5210-3/4") FASTPIPE | 41.41
F5555 | 2" VALVE KIT (2" BALL VALVE + (2) F5518) FASTPIPE | 217.99
FI0146 | 3" TOOL KIT FASTPIPE INDUSTRIAL (CUTTER, DEBURR TOOL, 2 SPANNERS, SPRAY BOTTLE) | 544.99
FI7076 | 3" PARTS KIT FASTPIPE INDUSTRIAL (1) O-RING (1) SS BITE RING | 8.71
FI7777 | 3" VALVE KIT FASTPIPE INDUSTRIAL (3" BALL VALVE + (2) F7718) | 359.69
K92215 | 3/8" FILTER REGULATOR LUBRICATOR UNIT 3/8" NPT PORTS..(K93215, K30T, K91215) | 69.99
K92216 | 1/2" FILTER REGULATOR LUBRICATOR UNIT 1/2" NPT PORTS..(K93216, K40T, K91216) | 89.99
K92217 | 3/4" FILTER REGULATOR LUBRICATOR UNIT 3/4" NPT PORTS..(K93217,K50T, K91217) | 104.99
M3800 | 1/2" MAXLINE MASTER KIT 100 FT, 3 OUTLETS, 1 COMP MANIFOLD, 1 TEE, 5 ELBOW, CUTTER AND BEVEL TOOL | 219.99
M3810V | 1/2" MAXLINE OUTLET KIT, 1/4" OUTLET PORT (CLAMSHELL WITH 3/8" M X F SHUTOFF VALVE 50120) | 41.41
M3810W | 1/2" MAXLINE THRU WALL OUTLET KIT, 1/4" OUTLET PORT (CLAMSHELL WITH 3/8 BRASS ELBOW) | 39.23
M3820 | 1/2" MAXLINE MANIFOLD KIT: ..M38220 ALUM BLOCK, 3/8" BRASS PLUG, (3) M8001 3/8" NPT STR FITTING,... | 40.32
M6026-25 | MAXLINE 1/2 TUBING X 25 FT with instruction sheet, non returnable | 21.25
M6026-50 | MAXLINE 1/2 TUBING X 50 FT with instruction sheet, non returnable | 42.5
M6030-25 | MAXLINE 3/4 TUBING X 25 FT with instruction sheet, non returnable | 43.75
M6030-50 | MAXLINE 3/4 TUBING X 50 FT with instruction sheet, non returnable | 87.5
M6032-25 | MAXLINE 1" TUBING X 25 FT with instruction sheet, non returnable | 57.5
M6032-50 | MAXLINE 1" TUBING X 50 FT with instruction sheet, non returnable | 115
M6520-100 | 2" MAXLINE 100 FT ROLL does not include deburr tool, crimp tool or cutter, non returnable | 499.99
M7500 | 3/4" MAXLINE MASTER KIT COMPLETE 100FT | 269.99
M7500/M7580 fitting box only | FITTING BOX ONLY FOR M7500/M7580..- (3) M81010 Aluminum Blocks..- (3) M8005 ¾” Tubing x 1/2” NPT... | 113.21
M7500__NORTHERN ONLY | 3/4" MAXLINE MASTER KIT COMPLETE 100FT NORTHERN TOOL ONLY | 269.99
M7510-2 | 3/4" MAXLINE OUTLET KIT IN CLAMSHELL, 1/2" NPT OUTLET PORT with TWO holes on the face,... | 43.59
M7510-2V | 3/4" MAXLINE OUTLET KIT IN CLAMSHELL with TWO holes on the face, 1/2 npt and 1/4 npt, with s... | 50.13
M7510V | 3/4" MAXLINE SINGLE PORT OUTLET KIT WITH SHUTOFF, 1/2" NPT OUTLET PORT (CLAMSHELL WITH 1/2" MXF ... | 46.86
M7510W | 3/4" MAXLINE THRU WALL OUTLET KIT, 1/2" NPT OUTLET PORT (CLAMSHELL WITH 1/2' BRASS ELBOW) | 49.04
M7580 | 3/4" MAXLINE MASTER KIT 300 FT | 599.99
M8101 | 1/2" MAXLINE OUTLET KIT, 1/2" OUTLET PORT,..M81010 ALUM BLOCK, 1/2" BRASS PLUG.. 3/8" DRAIN, M80... | 35.96
M81010-THRU | M81010 MAXLINE BLOCK WITH 1/2 FEMALE NPT BOTH ENDS | 18.52
M8101V | 1/2" MAXLINE OUTLET KIT, WITH SHUTOFF, 1/2" NPT OUTLET PORT..(M81010 ALUM BLOCK, 1/2" BRASS PLUG... | 44.68
M8200 | 1/2" DUAL PORT OUTLET,1/2" NPT OUTLET PORT (2X) (F2025 (1/2') + M8002) MAXLINE | 42.34
M8200V | 1/2" DUAL PORT OUTLET W/ SHUTOFF, 1/2" NPT OUTLET PORT (2X) (F2025 (1/2") + M8002 + 1/2 M X F... | 50.81
M8201 | 3/4" DUAL PORT OUTLET, 1/2" NPT OUTLET PORT (2X) (F2026 (3/4") + M8003) MAXLINE | 48.39
M8201V | 3/4" DUAL PORT OUTLET W/ SHUTOFF, 1/2" NPT OUTLET PORT (2X) (F2026 (3/4") + M8003 + 3/4 M X F ... | 57.76
M8203 | 1" DUAL PORT OUTLET, 1/2" NPT OUTLET PORT (2X) (F2026 (3/4") + M8015) MAXLINE | 56.67
M8203V | 1" DUAL PORT OUTLET W/ SHUTOFF, 1/2" NPT OUTLET PORT (2X) (F2026 (3/4") + M8015 + 3/4 M X F BA... | 63.21
M8590-RENTAL | 2" MAXLINE CRIMPING TOOL....$349.99 up front deposit required on tool upon return within 60 days... | 501.39
MC6026-02 | MCMASTER ONLY MAXLINE 1/2 TUBING X 2 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING L... | 43.17
MC6026-05 | MCMASTER ONLY MAXLINE 1/2 TUBING X 5 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING LA... | 47.96
MC6026-10 | MCMASTER ONLY MAXLINE 1/2 TUBING X 10 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING L... | 52.76
MC6026-15 | MCMASTER ONLY MAXLINE 1/2 TUBING X 15 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING L... | 59.95
MC6026-25 | MCMASTER ONLY MAXLINE 1/2 TUBING X 25 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING L... | 71.94
MC6030-02 | MCMASTER ONLY MAXLINE 3/4 TUBING X 2 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING LA... | 47.96
MC6030-05 | MCMASTER ONLY MAXLINE 3/4 TUBING X 5 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING LA... | 52.76
MC6030-10 | MCMASTER ONLY MAXLINE 3/4 TUBING X 10 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING L... | 57.56
MC6030-15 | MCMASTER ONLY MAXLINE 3/4 TUBING X 15 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING L... | 65.95
MC6030-25 | MCMASTER ONLY MAXLINE 3/4 TUBING X 25 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING L... | 89.93
MC6032-02 | MCMASTER ONLY MAXLINE 1' TUBING X 2 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING LABEL* | 62.35
MC6032-05 | MCMASTER ONLY MAXLINE 1' TUBING X 5 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING LABEL* | 69.55
MC6032-10 | MCMASTER ONLY MAXLINE 1' TUBING X 10 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING LA... | 81.54
MC6032-15 | MCMASTER ONLY MAXLINE 1' TUBING X 15 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING LA... | 93.53
MC6032-25 | MCMASTER ONLY MAXLINE 1' TUBING X 25 FT WITH DEBUR TOOL AND INSTRUCTION SHEET....*ADD WARNING LA... | 117.51
50120-HANDLE | BLACK HANDLE FOR 50120 DRAIN VALVE | 1.08
50700 | (1) Bottle Pipe Sealant, (1) roll of Teflon Tape, thread instruction sheet, non returnable | 9.99
90230 | COMPRESSOR MANIFOLD MOUNTING BRACKET WITH HARDWARE | 16.34
AXL-5412 ESCH080804 | BLANK ENCLOSURE BOX 8 X 8 X 4, GRAY | 43.25
AXL-AR25K-N03EH-RYZ-B | AIR REGULATOR, 3/8 PORTS, WITH BUILT IN SQUARE GAUGE | 28.08
AXL-AR25K-N03H-Z-B | AIR REGULATOR, 3/8" NPT PORTS.... | 20.24
AXL-M-ARG20B | PLOW WING REGULATING ASSEMBLY, 1/4" AIR REGULATOR WITH BUILT IN GAUGE IN KNOB AND MOUNT BRACKET | 48.53
AXL-PGB158FCB | GAUGE, 1-1/2" DIAMETER, 0-160 PSI, PANEL MOUNT, LIQUID FILLED, WITH MOUNT BRACKET | 17.55
AXL-VF5123-6GE1-03T | SOLENOID VALVE, 12 VOLT, 3/8" NPT PORTS, FOR AXLLIFT CONTROL | 77.44
AXL1-NU | LIFT AXLE CONTROL KIT SINGLE VALVE, NORMALLY UP | 190.13
AXL1-NULR | LIFT AXLE CONTROL KIT SINGLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY, WITH EXTERNAL ELBOWS | 226.5
AXL1-NUR | LIFT AXLE CONTROL KIT SINGLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY | 198.5
AXL2-NU | LIFT AXLE CONTROL KIT DOUBLE VALVE, NORMALLY UP | 332.08
AXL2-NULR | LIFT AXLE CONTROL KIT DOUBLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY, WITH EXTERNAL ELBOWS | 403.5
AXL2-NUR | LIFT AXLE CONTROL KIT DOUBLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY | 362
AXL3-NU | LIFT AXLE CONTROL KIT TRIPLE VALVE, NORMALLY UP | 535
AXL3-NUR | LIFT AXLE CONTROL KIT TRIPLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY | 572
AXLLIFT MISC SALES | SELL MISC AXLLIFT PARTS | 0
BS-0010 | Menards - Left Sign INCLUDE NEON GREEN "ATTN HARDWARE MANAGE STICKER 4 TIMES | 0
BS-0020 | Menards - Right Sign INCLUDE NEON GREEN "ATTN HARDWARE MANAGE STICKER 4 TIMES | 0
BS-0030 | Menards -Sign side Insert INCLUDE NEON GREEN "ATTN HARDWARE MANAGE STICKER 4 TIMES | 0
BS-0040 | Rapidair 12x24 Sign | 0
BS-0050 | Fastpipe 12x24 Sign | 0
BS-0060 | Maxline 12x24 Sign | 0
BS-0070 | Rapidair, Fastpipe, Maxline - Display Board - 18x21 northern tool include mounting screws | 0
BS-0071 | Rapidair, 1/2 Maxline, 3/4 Maxline - Display Board - 12 x 46 Bomgaars include mounting screws | 0
BS-0072 | M3800 MASTER KIT SIGN 17 X 17 Bomgaars | 0
BS-0073 | M7500 MASTER KIT SIGN 20 X 20 Bomgaars | 0
BS-0080 | Rapidair, Fastpipe, Maxline - Display Board - 18x46 WITH N. Tool Fastpipe Store Sign 4 x 10..... | 0
BS-0090 | Fastpipe Display Board - Alum Diamond Plate -..12x12 w/ Brochure Holder | 0
BS-0092 | MAXLINE 3/4, RAPIDAIR DISPLAY BOARD BLAINS, RURAL KING | 0
BS-0100 | Rapidair Brochure | 0
BS-0110 | Maxline Retail Brochure - 1/2" & 3/4" | 0
BS-0120 | Maxline Industrial Catalog , with address 1/2", 3/4", 1" & 2" | 0
BS-0121 | Maxline Industrial Catalog, Distributor, no address - 1/2", 3/4", 1" & 2" | 0
BS-0129 | Fastpipe Catalog, Distributor, no address - 3/4" thru 6" | 0
BS-0130 | Fastpipe Catalog, with address 3/4" thru 6" | 0
BS-0131 | N. Tool Fastpipe Store Sign 4 x 10 " See In Store Sales Associate For" | 0
BS-0132 | NORTHERN TOOL 4 X 10 SIGN FASTPIPE COMPRESSED AIR PIPING WITH 1" PIPE CLIP ATTACHED | 0
BS-0140 | Fastpipe Brochure Holder (BMBPS-660CI) | 0
BS-0150 | Trifold Single Brochure Holder (DLHW-M141) | 0
BS-0160 | Trifold Double Brochure Holder (BMBPS-702CI) | 0
BS-0201 | RAPIDAIR BANNER 2 FT X 4 FT HAS FASTPIPE MAXLINE RAPIDAIR | 0
BS-0202 | RAPIDAIR BANNER 3FT X 6FT FASTPIPE MAXLINE RAPIDAIR | 0
BS-0205 | Fastpipe Gondola Sign Holder , 6 inches | 0
F1076 | 3/4" FASTPIPE PARTS KIT (1) O-RING (1) SS BITE RING, CONE NUT AND INNER PARTS | 2.99
F2076 | 1" FASTPIPE PARTS KIT (1) O-RING (1) SS BITE RING, CONE NUT, black backer and GREEN instructi... | 2.99
M38230 | COMPRESSOR MANIFOLD MOUNTING BRACKET WITH HARDWARE FOR 1/2' MAXLINE | 15.99
M8057 | 1/2 HEX NUT, MAXLINE FITTING | 2.99
M8058 | 3/4 HEX NUT, MAXLINE FITTING | 3.99
M8059 | 1" HEX NUT, MAXLINE FITTING | 4.99
MaxLine promo materials | MaxLine signage, single holder brochure, Brochures | 0
NTE1000 | NORTHERN TOOL SIGNAGE, SMALL STORE 18 X 21 UPC 0940840100006 | 0
NTE2000 | NORTHERN TOOL SIGNAGE, LARGE STORE (1) 18 X 46 AND (1) FASTPIPE SIGN 4 X 10 UPC 094084020009 | 0
Rapidair promo materials | Rapidair signage, single holder brochure, Brochures | 0
Shipping | Shipping | 0
SHIPPING-GUARANTEED | delivery guaranteed for (date) … If carrier delivers late, we will refund your shipment cos... | 0
Supplies - Safety |  | 0
Tax-SalesTax | SalesTax | 0
TotalOff | TotalOff | 0
unknown_do_not_delete | webstore could not find the item number in quickbooks, update and fix the store sku | 1.08
3% Co-Op Discount | 3% Co-Op Discount | -0.04
ACCESS REGULATORS COSTS MISC | BUY MISC PARTS | 0
ACCESS COSTS MISC | BUY MISC PARTS | 0
ACCESS COUPLERS COSTS MISC | BUY MISC PARTS | 0
ACCESS HOSES COST MISC | BUY MISC PARTS | 0
ACCESS REELS COST MIS | BUY MISC PARTS | 0
AIRCOM MISC COSTS | BUY MISC PARTS | 0
AXLLIFT MISC COSTS | BUY AXLLIFT PARTS | 0
Bad Check Charge | Bad Check Charge | 0
Bad Payment/Bounced Check | Bad Check/Returned CC payment | 0
CLAIM DISCOUNT | NON-RECOUPABLE PAYMENTS FROM CARRIERS ON FREIGHT CLAIM LOSSES | 0
COMPRESSORS | BUY COMPRESSORS | 0
COMPUTER REPAIRS | COMPUTER NETWORK MAINTENANCE | 0
CONTRACT LABOR | HOURLY SERVICES | 0
Coop Allowance | COOP ALLOWANCE AND RETAIL CUSTOMERS STANDARD REQUIRED DISCOUNTS | 0
Coop Allowance - 8% | 8% Co-op Allowance - Amazon | 0
CREDIT-$ | ***** credits will be automatically paid out 6 months from the date they are issued, unless othe... | 0
CREDIT-PRODUCT | ***** credits allotted for product value only for a future purchase expire by 6 months from the ... | 0
Customer 2018 Balance | Customer Carry Over Balance from Open A/R as of 12/31/18 | 0
Damage Allowance 2% | 2% Damage Allowance - Amazon | 0
Dbl Charge CC | Double Charged credit card in error | 0
DISCOUNTS | CUSTOMER DISCOUNTS | 0
DOWN PAYMENT |  | 0
DURATEC COSTS MISC | BUY MISC PARTS | 0
EQUIPMENT PURCHASE | BUY EQUIPMENT | 0
Equipment Repairs & Maintenance | Parts and/or Service for Equipment Repairs & Maintenance | 0
FASTPIPE COSTS MISC | BUY MISC PARTS | 0
FASTPIPE INDUSTRIAL COSTS | BUY MISC PARTS | 0
Freight Allowance - 4.32% | 4.32% Freight Allowance - Amazon | 0
FREIGHT CLAIM |  | 0
MARKETING | INTERNET MARKETING | 0
MAXLINE COSTS MISC | BUY MISC MAXLINE PARTS | 0
Mis-Ship Office |  | 0
Mis-Ship Office Freight |  | 0
Mis-Ship Report Miss Freight |  | 0
Mis-Ship Reported Missing |  | 0
Mis-Ship Warehouse |  | 0
Mis-Ship Warehouse Freight |  | 0
Misc. Charge |  | 0
NORTHERN RETURN | Northern Tool return credit | 0
Outside Services | General contract labor | 0
PREVOST MISC COSTS | BUY MISC PARTS | 0
PRINTED MATERIAL | PRINTED MATERIAL (CATOLOGS, BROCHURES, ETC) | 0
RAPIDAIR COST MISC | BUY MISC RAPIDAIR PARTS | 0
Receiving | Commercial or Residential Delivery:..Receiving Hours: (Example M-F, 8-4:30)..Forklift or Dock:.... | 0
RETAIL DISPLAY COSTS | PARTS FOR RETAIL DISPLAYS | 0
SHIP 1 FEDEX | FEDEX SHIPPING CHARGES INSTRUCTION SHEET | 0
SHIP 1A ENVELOPE FEDEX | FEDEX PAPER ENVELOPE 2 DAY AIR 5 LBS MAX | 12.99
SHIP 1B PAD ENVELOPE FEDEX | FEDEX PADDED PAK 2 DAY AIR 5 LBS MAX | 13.99
SHIP 1C SMALL BOX FEDEX | FEDEX SMALL BOX 2 DAY AIR 5 LBS MAX 9 X 12 X 3 OR 9 X 12 X 4-1/2 | 19.99
SHIP 1D MED BOX FEDEX | FEDEX MEDIUM BOX 2 DAY AIR 5 LBS MAX 9 X 12 X 4-1/2 OR 13 X 11.5 X 2 1/4 | 22.99
SHIP 2 LTL FREIGHT | LTL FREIGHT SHIPPING CHARGES INSTRUCTION SHEET | 0
SHIP 3 POSTAL | U.S. POSTAL SERVICE SHIPPING CHARGES INSTRUCTION SHEET | 8.99
SHIP 4 SPEE DEE | SPEE DEE DELIVERY SHIPPING CHARGES INSTRUCTION SHEET | 0
SHIP 5 UPS | UPS SHIPPING CHARGES INSTRUCTION SHEET | 0
SHIPPIING QUOTE | Your freight quote is based on normal commercial delivery with access to a dock or forklift. If ... | 0
SHIPPING COSTS LTL | BUY LTL FREIGHT SHIPPING | 0
SHIPPING COSTS LTL VARIANCE | BUY LTL COST VARIANCE | 0
SHIPPING COSTS SMALL PACKAGE | BUY SMALL PACKAGE SHIPPING COSTS | 0
SHIPPING WEBSTORE | SHIPPING COST | 0
STRUT COSTS MISC | BUY MISC STRUT PARTS | 0
Supplies - Office | BUY MISC OFFICE SUPPLIES | 0
Supplies - Shop | MISC SHOP SUPPLIES | 0
THERMALPEX COST MISC | BUY MISC PARTS | 0
Transaction Fee | Transaction Fees for International Sales | 0
UPS Trailer Storage |  | 0
Warranty Credit |  | 0
Warranty Credit - Freight |  | 0
Webstore | Rounding Adjustment | 0
WI Sales Tax Exp | Sales Tax | 0.06
Reimb Subt | Reimbursable Expenses Subtotal | 0
Subtotal | Parts Subtotal | 0
Reimb Group | Total Reimbursable Expenses | 0
2% Co-Op Discount | 2% Co-Op Discount | -0.03
4% Co-Op Discount | Advertising Co-Op Discount | -0.05
Discount 10% | 10% Large Order Discount - Parts Only | -0.11
Discount 15% | 15% Large Order Discount - Parts Only | -0.17
Discount 20% | 20% Large Order Discount - Parts Only | -0.22
Discount 5% | 5% Large Order Discount - Parts Only | -0.06
AVATAX |  | 0
OFF AVATAX |  | 0
Refund - Sales Tax | Sales Tax Refund - Ask Accounting Before Using This Code | 0
Total AvaTax | Total sales tax calculated by AvaTax | 0