## Sheet1
DURATEC TUBING SYSTEM | WWW.RAPIDAIRPRODUCTS.COM
2022-01-01 | PH 800-954-3310 |  |  | ENTER |  |  |  | LBS
|  | List | Dist | QTY |  | TUBING |  | WGHT | Weight | List
| Part # | Price | Cost | HERE | Total | SIZE |  | EACH | TOTAL | total
| D6026 | 147.39 | 132.65 |  | 0 | 1/2" | 100 FT .63 OD X .50 ID | 9 | 0 | 0
| D6027 | 442.53 | 398.27 |  | 0 | 1/2" | 300 FT .63 OD X .50 ID | 27 | 0 | 0
| D6030 | 237.49 | 213.74 |  | 0 | 3/4" | 100 FT .98 OD X .80 ID | 15 | 0 | 0
| D6031 | 682.66 | 614.4 |  | 0 | 3/4" | 300 FT .98 OD X .80 ID | 48 | 0 | 0
| D6032 | 300.76 | 270.69 |  | 0 | 1" | 100 FT 1.26 OD X 1.03 ID | 27 | 0 | 0
| D6033 | 900.94 | 810.85 |  | 0 | 1" | 300 FT 1.26 OD X 1.03 ID | 76 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8064-10 | 12 | 10.8 |  | 0 | 1/2" | PIPE CLIP SPACING EVERY 3 FT PACK OF TEN | 0.11 | 0 | 0
| D8065-10 | 19.22 | 17.3 |  | 0 | 3/4" | PIPE CLIP SPACING EVERY 4-5 FT PACK OF TEN | 0.18 | 0 | 0
| D8066-10 | 24.02 | 21.62 |  | 0 | 1" | PIPE CLIP SPACING EVERY 5-6 FT PACK OF TEN | 0.2 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8021 | 12.58 | 11.32 |  | 0 | 1/2" | UNION | 0.26 | 0 | 0
| D8022 | 31.34 | 28.21 |  | 0 | 3/4" | UNION | 0.58 | 0 | 0
| D8023 | 52.43 | 47.19 |  | 0 | 1" | UNION | 0.81 | 0 | 0
| D8024 | 26.17 | 23.56 |  | 0 | 3/4" | REDUCING UNION 3/4" TUBING X 1/2" TUBING | 0.48 | 0 | 0
| D8025 | 36.51 | 32.86 |  | 0 | 1" | REDUCING UNION 1" TUBING X 3/4" TUBING | 0.83 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8080 | 14.14 | 12.72 |  | 0 | 1/2" | 90 DEGREE ELBOW | 0.25 | 0 | 0
| D8067 | 36.04 | 32.44 |  | 0 | 3/4" | 90 DEGREE ELBOW | 0.58 | 0 | 0
| D8068 | 45.35 | 40.81 |  | 0 | 1" | 90 DEGREE ELBOW | 0.96 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8010 | 25.15 | 22.64 |  | 0 | 1/2" | EQUAL TEE | 0.38 | 0 | 0
| D8011 | 45.22 | 40.69 |  | 0 | 3/4" | EQUAL TEE | 0.83 | 0 | 0
| D8012 | 78.18 | 70.36 |  | 0 | 1" | EQUAL TEE | 1.38 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8014 | 39.7 | 35.73 |  | 0 | 3/4" | REDUCING TEE DROP LEG (C ) 1/2" TUBING | 0.65 | 0 | 0
| D8016 | 66.99 | 60.29 |  | 0 | 1" | REDUCING TEE DROP LEG (C ) 1/2" TUBING | 1.11 | 0 | 0
| D8018 | 74.54 | 67.08 |  | 0 | 1" | REDUCING TEE DROP LEG (C ) 3/4" TUBING | 1.18 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8019 | 23.01 | 20.71 |  | 0 | 1/2" | REDUCING TEE DROP LEG 1/2" FEMALE NPT | 0.34 | 0 | 0
| D8078 | 25.66 | 23.1 |  | 0 | 3/4" | REDUCING TEE DROP LEG 1/2" FEMALE NPT | 0.61 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8002 | 10.08 | 9.07 |  | 0 | 1/2" | STRAIGHT 1/2" TUBING X 1/2" MALE NPT | 0.18 | 0 | 0
| D8003 | 20.65 | 18.58 |  | 0 | 3/4" | STRAIGHT 3/4" TUBING X 3/4" MALE NPT | 0.35 | 0 | 0
| D8004 | 30.81 | 27.73 |  | 0 | 1" | STRAIGHT 1" TUBING X 1" MALE NPT | 0.54 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8006 | 10.77 | 9.69 |  | 0 | 1/2" | 1/2" TUBING X 1/2" FEMALE NPT | 0.18 | 0 | 0
| D8007 | 20.85 | 18.76 |  | 0 | 3/4" | 3/4" TUBING X 3/4" FEMALE NPT | 0.33 | 0 | 0
| D8008 | 34.22 | 30.8 |  | 0 | 1" | 1" TUBING X 1" FEMALE NPT | 0.54 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8026 | 10.5 | 9.45 |  | 0 | 1/2" | END CAP | 0.13 | 0 | 0
| D8027 | 19.08 | 17.17 |  | 0 | 3/4" | END CAP | 0.29 | 0 | 0
| D8028 | 26.93 | 24.24 |  | 0 | 1" | END CAP | 0.5 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8038 | 43.42 | 39.08 |  | 0 | 1/2" | INLINE HAND VALVE | 0.45 | 0 | 0
| D8039 | 56.45 | 50.8 |  | 0 | 3/4" | INLINE HAND VALVE | 0.81 | 0 | 0
| D8040 | 72.45 | 65.21 |  | 0 | 1" | INLINE HAND VALVE | 1.63 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| IN WALL TUBING OR SURFACE MOUNT TUBING (MACHINED ALUMINUM) WITH WATER DRAIN | [6 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8101 | 42.05 | 37.85 |  | 0 | 1/2" | SINGLE PORT OUTLET(1/2" NPT OUT)(1/2" NPT REAR/TOP) | 0.83 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8101V | 52.87 | 47.59 |  | 0 | 1/2" | SINGLE PORT OUTLET WITH SHUTOFF | 1 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
| SURFACE MOUNT TUBING ONLY WITH WATER DRAIN AT BOTTOM | [6 empty] | 0 | 0 | 0
| D8200 | 48.06 | 43.25 |  | 0 | 1/2" | MULTI PORT OUTLET, (4) 1/2" NPT OUTLET PORTS | 2 | 0 | 0
| D8201 | 54.06 | 48.65 |  | 0 | 3/4" | MULTI PORT OUTLET, (4) 1/2" NPT OUTLET PORTS | 2 | 0 | 0
| D8200V | 56.47 | 50.82 |  | 0 | 1/2" | MULTI PORT OUTLET, WITH SHUTOFF | 2 | 0 | 0
| D8201V | 63.68 | 57.32 |  | 0 | 3/4" | MULTI PORT OUTLET, WITH SHUTOFF | 2.72 | 0 | 0
[8 empty] | 0 | 0 | 0
| D8009 | 16 | 14.4 |  | 0 | 1/2" | SINGLE PORT ELBOW, 1/2" FEMALE NPT INERT GAS | 0.25 | 0 | 0
| SPARE PARTS ONLY (FITTINGS COME ASSEMBLED WITH SPLIT RINGS) | [6 empty] | 0 | 0 | 0
| D8047 | 1.02 | 0.93 |  | 0 | 1/2" | SPLIT RING | 0.02 | 0 | 0
| D8048 | 1.41 | 1.26 |  | 0 | 3/4" | SPLIT RING | 0.03 | 0 | 0
| D8049 | 2.52 | 2.26 |  | 0 | 1" | SPLIT RING | 0 | 0 | 0
| SPARE PARTS ONLY (FITTINGS COME ASSEMBLED WITH ORINGS) | [6 empty] | 0 | 0 | 0
| D8054 | 0.68 | 0.62 |  | 0 | 1/2" | ORING | 0.01 | 0 | 0
| D8055 | 0.8 | 0.72 |  | 0 | 3/4" | ORING | 0.01 | 0 | 0
| D8056 | 1.06 | 0.96 |  | 0 | 1" | ORING | 0.01 | 0 | 0
| INSTALLATION TOOLS | [6 empty] | 0 | 0 | 0
| M8051 | 27.04 | 16.22 |  | 0 | TOOL | 1/2" - 1" PIPE CUTTER | 0.375 | 0 | 0
| D8050 | 14.41 | 12.97 |  | 0 | TOOL | 1/2" - 1" BEVELING TOOL | 1 | 0 | 0
[8 empty] | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | 0 | 0 | 1 |  |  | SHIPPING - ship rate based on fully commercial delivery/semi access, no added services, unless noted
0 | LBS |  | 3716.43 |  |  | TOTAL
Purchases made for these goods subject to Terms & Conditions of Sale/Limited Warranty found @ rapidairproducts.com Applicable sales tax added at time of purchase.
QUOTE GOOD FOR 30 DAYS

## Sheet3
2022-01-01 |  | LIST PRICE | COST | WEIGHT
RAPIDAIR |  |  | 0.7
20100 | RAPIDAIR TUBING, 1/2" NYLON, 100 FT ROLL, | 74.96 | 44.97 | 6
20200 | RAPIDAIR TUBING CLAMP, 12 PCS PER PACK | 5.28 | 3.17 | 0.04
50100 | 3/8" NPT STRAIGHT FITTING RAPIDAIR | 5.95 | 3.57 | 0.08
50110 | 1/2" TUBING X 1/2 MALE NPT STRAIGHT FITTING RAPIDAIR | 7.1 | 4.26 | 0.08
50200 | TEE FITTING 1/2" RAPIDAIR | 6.96 | 4.18 | 0.07
50300 | ELBOW FITTING 1/2" RAPIDAIR | 5.28 | 3.17 | 0.06
50400 | 3/8" NPT ELBOW FITTING 1/2" RAPIDAIR | 8.07 | 4.84 | 0.11
50500 | UNION FITTING 1/2" RAPIDAIR | 5.28 | 3.17 | 0.05
90100 | COMPRESSED AIR OUTLET KIT RAPIDAIR | 35.82 | 21.5 | 1.06
90200 | COMPRESSOR MANIFOLD KIT RAPIDAIR | 42.05 | 25.23 | 0.98
90500 | RAPIDAIR MASTER KIT ( 1 MANIFOLD, 2 OUTLETS, 100 FT TUBING) | 132.29 | 79.37 | 10
90501 | RAPIDAIR MASTER KIT (1 MANIFOLD, 2 OUTLETS, 100 FT TUBING) PLUS 2 U. ELBOWS, 2 TEES, 1 PKG PIPE CLIPS - EASTWOOD COMPANY ONLY | 182.13 | 109.28 | 9
BS-0005 | SALES KIT..1 RapidAir Messenger Bag..15 Maxline Ind Catalog (BS-0121)..15 Fastpipe Catalog (BS-0129)..1 Brochure Holder (BS-0140)..1 Fastpipe Sample section 3/4"..1 Fastpipe Sample Section 1"..1 Fastpipe Sample Secti... | 0 | 0 | 0
BS-GOLD01 | RAPIDAIR STARTER KIT GOLD..90500 (2 KITS)..M3800 (1 KIT)..M7500 (1 KIT)..BS-0040 SIGN..BS-0060 SIGN | 804.78 | 482.87 | 0
BS-PLATINUM01 | RAPIDAIR STARTER KIT GOLD..90500 (2 KITS)..M7500 (2 KIT)..M6030 (1 KIT)..BS-0040 SIGN..BS-0060 SIGN..50200 (4 PCS)..50300 (4 PCS)..20200 (2 PCS)..M8003 (2 PCS)..M8005 (2 PCS)..M8011 (2 PCS)..M8022 (1 PC)..M8065 (2 PCS)..M8067 (2 PCS) | 1344.06 | 806.44 | 0
BS-SILVER01 | RAPIDAIR STARTER KIT GOLD..90500 (4 KITS)..M3800 (1 KIT)..M7500 (2 KIT)..BS-0040 SIGN..BS-0060 SIGN | 1367.03 | 820.22 | 0
ACCESSORIES |  |  | 0.7
50120 | DRAIN VALVE 3/8" MNPT X 3/8" FNPT | 6.32 | 3.79 | 0.19
50120-HANDLE | BLACK HANDLE FOR 50120 DRAIN VALVE | 1.19 | 0.72 | 0
50125 | CLOSE NIPPLE BRASS 1/4" NPT | 1.8 | 1.08 | 0.03
50130 | STREET ELBOW 45 DEG 1/4" NPT BRASS | 2.64 | 1.59 | 0.08
50131 | STREET ELBOW 45 DEG 1/2" NPT BRASS | 6.08 | 3.64 | 0.21
50132 | STREET ELBOW 45 DEG 3/4" NPT BRASS(28-234) | 40.3 | 24.18 | 0.344
50134 | 1/4" NPT ALLEN HEAD PLUG BRASS (28-094) | 1.3 | 0.78 | 0.02
50135 | 3/8" NPT ALLEN HEAD PLUG BRASS | 1.8 | 1.08 | 0.03
50136 | 1/2" NPT COUNTERSUNK HEAD PLUG BRASS | 3.59 | 2.15 | 0.06
50137 | 3/4" NPT HEX HEAD PLUG BRASS (28-205S) | 8.8 | 5.28 | 0.113
50138 | 1" NPT HEX HEAD PLUG BRASS (28-206S) | 24.51 | 14.7 | 0.269
50604 | 3/8" FEM NPT X 3/8" FEM NPT BRASS ELBOW (28003) | 7.93 | 4.76 | 0.16
50605 | 1/2" FEM NPT X 3/4" FEM NPT BRASS REDUCING ELBOW (44127) | 21 | 12.6 | 0.31
50606 | 3/4" FEM NPT X 3/4" FEM NPT BRASS ELBOW (44104) | 19.17 | 11.51 | 0.35
50607 | 1/2" FEM NPT X 1/2" FEM NPT BRASS ELBOW (G1324267) | 12.36 | 7.41 | 0.24
50609 | 3/8" NPT X 1/4" NPT HEX REDUCING NIPPLE (28-222L) | 2.45 | 1.47 | 0.069
50610 | 1/4" NPT Hex Nipple Brass (28-212L) | 1.72 | 1.03 | 0.04
50611 | 1/2" NPT X 1/4" NPT HEX REDUCING NIPPLE (28-223L) | 4.37 | 2.63 | 0.09
50612 | 1/4" STREET ELBOW, 90 DEGREE (28-157) | 5.3 | 3.18 | 0.09
50613 | 3/8" NPT Brass Street Elbow (28-158) | 7.19 | 4.31 | 0.16
50614 | 1/2" NPT STREET ELBOW 90 DEGREE (28-168) | 10.34 | 6.2 | 0.2
50615 | 3/8" NPT Hex Nipple (28-213L) | 2.65 | 1.59 | 0.07
50616 | 1/2" NPT Hex Nipple (28-214L) Brass | 4.59 | 2.75 | 0.11
50617 | 3/4" NPT Hex Nipple (28-215) | 10.67 | 6.41 | 0.23
50618 | 3/8" x 1/2" NPT Hex Nipple (28-224L) | 5.12 | 3.07 | 0.11
50619 | 3/4" x 1" NPT Hex Nipple | 11.58 | 6.95 | 0.25
50620 | 1/2" x 3/4" NPT Hex Nipple (28-225) | 7.9 | 4.74 | 0.15
50621 | 1" NPT Hex Nipple (28-216) | 17.5 | 10.5 | 0.43
50622 | 3/4" NPT STREET ELBOW 90 DEGREE (28-169) | 16.4 | 9.84 | 0.25
50702 | HARVEY SEAL 4 OZ, 025020 | 10.52 | 6.31 | 0
50703 | TEFLON TAPE - 1/2" WIDE X 520 INCHES | 5.29 | 3.17 | 0
50704 | REDUCING BUSHING 2" MALE X 1-1/2" FEM NPT GALV (64531) | 20.33 | 12.19 | 0.775
50705 | REDUCING BUSHING 2" MALE X 1" FEM NPT BRONZE (44529LF) | 48.79 | 29.27 | 0.775
50706 | REDUCING BUSHING 2" MALE X 3/4" FEM NPT BRONZE (44528) | 69.78 | 41.87 | 0.775
50707 | REDUCING BUSHING 1-1/2" MALE X 1" FEM NPT BRONZE (44523LF) | 27.34 | 16.4 | 0.581
50708 | REDUCING BUSHING 1-1/2" MALE X 3/4" FEM NPT BRONZE (44522LF) | 33.45 | 20.07 | 0.663
50709 | REDUCING BUSHING 1" MNPT X 3/4" FNPT (28-115) | 10.09 | 6.06 | 0.2
50710 | REDUCING BUSHING 1" MNPT X 1/2" FNPT (28-114) | 12.84 | 7.71 | 0.775
50711 | REDUCING BUSHING 1"MNPT X 3/8" FNPT (28-113) | 13.04 | 7.82 | 0.3
50712 | REDUCING BUSHING 3/4" MNPT X 1/2" FNPT (28-111L) | 5.03 | 3.01 | 0.11
50713 | REDUCING BUSHING 3/4" MNPT X 3/8" FNPT (28-110L) | 6.9 | 4.14 | 0.15
50714 | REDUCING BUSHING 3/4" MNPT X 1/4" FNPT (28-109L) | 5.87 | 3.52 | 0.18
50715 | 1/2 male to 3/8 female Hex Reducing Bushing | 2.37 | 1.43 | 0.05
50716 | 1/2 male to 1/4 female Hex Reducing Bushing | 3.28 | 1.97 | 0.08
50717 | REDUCING BUSHING 3/8" MNPT x 1/4" FNPT (Manifold reducer) (28-104L) | 1.7 | 1.02 | 0.03
50750 | MEGABUBBLE LEAK DETECTOR 8 OZ | 14.32 | 8.59 | 0.62
50810 | 1/4" MNPT X 3/8" FNPT BUSHING (28-193L) | 3.31 | 1.99 | 0.08
50811 | 1/4" MNPT X 1/2" FNPT BUSHING (28-199) | 7.23 | 4.33 | 0.08
50812 | 3/8" MNPT X 1/2" FNPT BUSHING (28-195) | 9.28 | 5.56 | 0.09
50813 | 1/2" MNPT X 3/4" FNPT BUSHING (28-208) | 20.32 | 12.19 | 0.14
50860 | 1/4" NPT FEM X FEM COUPLING BRASS (28-059) | 4.12 | 2.47 | 0.088
50861 | 3/8" NPT FEM X FEM COUPLING BRASS (28-060L) | 5.64 | 3.37 | 0.063
50862 | 1/2" NPT FEM X FEM COUPLING BRASS (28-061L) | 5.87 | 3.52 | 0.088
50863 | 3/4" NPT FEM X FEM COUPLING BRASS (28-062L) | 8.46 | 5.08 | 0.181
50864 | 1" NPT FEM X FEM COUPLING GALV (64-415) | 10.46 | 6.28 | 0.044
50870 | 3/8" NPT FEM X 1/4" FEM COUPLING BRASS (28-183L) | 3.65 | 2.19 | 0.063
50871 | 1/2" NPT FEM X 1/4" FEM COUPLING BRASS (28-184L) | 7.94 | 4.77 | 0.063
50872 | 1/2" NPT FEM X 3/8" FEM COUPLING BRASS (28-185L) | 7.15 | 4.29 | 0.088
50873 | 3/4" NPT FEM X 1/2" FEM COUPLING BRASS (28-189) | 13.59 | 8.15 | 0.156
50877 | 1" NPT FEM X 3/4" FEM COUPLING GALV (64-442) | 13.02 | 7.81 | 0.775
50878 | 1-1/2" NPT FEM X 3/4" FEM COUPLING GALV (64-448) | 19.83 | 11.89 | 0.769
50879 | 1-1/2" NPT FEM X 1" FEM COUPLING GALV (64-449) | 17.55 | 10.53 | 0.869
50880 | 2" NPT FEM X 1-1/2" FEM COUPLING GALV (64-454) | 23.93 | 14.35 | 0.606
50883 | 2-1/2" NPT FEM X 2" FEM COUPLING GALV (64-462) | 74 | 44.4 | 2.525
50885 | 3" NPT FEM X 2" FEM COUPLING GALV (64-456) | 127.92 | 76.75 | 3.3
50910 | 1/4" NPT Brass Tee (28-025) | 6.76 | 4.05 | 0.17
50911 | 3/8" NPT Brass Tee (28-026) | 10.78 | 6.47 | 0.22
50912 | 1/2" NPT BRONZE/BRASS TEE (44253LF) | 14.52 | 8.71 | 0.43
50913 | 3/4" NPT Tee BRONZE (44254LF) | 19.11 | 11.47 | 0.531
50914 | 1" NPT Tee BRONZE (44255LF) | 33.89 | 20.34 | 0.888
90120 | COMPRESSED AIR OUTLET BLOCK ONLY RAPIDAIR | 12 | 7.2 | 0.47
90220 | COMPRESSOR MANIFOLD BLOCK ONLY RAPIDAIR | 12 | 7.2 | 0.48
ACCESSORY SALE | MISC ACCESSORY SALES, returns not accepted | 0 | 0 | 0
AXL-5412 ESCH080804 | BLANK ENCLOSURE BOX 8 X 8 X 4, GRAY | 47.68 | 28.61 | 0
AXL-AR25K-N03EH-RYZ-B | AIR REGULATOR, 3/8 PORTS, WITH BUILT IN SQUARE GAUGE | 30.95 | 18.57 | 0
AXL-AR25K-N03H-Z-B | AIR REGULATOR, 3/8" NPT PORTS | 22.09 | 13.25 | 0
AXL-M-ARG20B | PLOW WING REGULATING ASSEMBLY, 1/4" AIR REGULATOR WITH BUILT IN GAUGE IN KNOB AND MOUNT BRACKET | 53.51 | 32.11 | 0
AXL-PGB158FCB | GAUGE, 1-1/2" DIAMETER, 0-160 PSI, PANEL MOUNT, LIQUID FILLED, WITH MOUNT BRACKET | 19.35 | 11.61 | 0
AXL-VF5123-6GE1-03T | SOLENOID VALVE, 12 VOLT, 3/8" NPT PORTS, FOR AXLLIFT CONTROL | 85.38 | 51.23 | 0
AXL1-NU | LIFT AXLE CONTROL KIT SINGLE VALVE, NORMALLY UP | 209.62 | 125.77 | 0
AXL1-NULR | LIFT AXLE CONTROL KIT SINGLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY, WITH EXTERNAL ELBOWS $226.50 | 249.72 | 149.83 | 0
AXL1-NUR | LIFT AXLE CONTROL KIT SINGLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY | 218.85 | 131.31 | 0
AXL2-NU | LIFT AXLE CONTROL KIT DOUBLE VALVE, NORMALLY UP | 366.11 | 219.67 | 0
AXL2-NULR | LIFT AXLE CONTROL KIT DOUBLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY, WITH EXTERNAL ELBOWS | 444.86 | 266.92 | 0
AXL2-NUR | LIFT AXLE CONTROL KIT DOUBLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY | 399.11 | 239.47 | 0
AXL3-NU | LIFT AXLE CONTROL KIT TRIPLE VALVE, NORMALLY UP | 589.84 | 353.9 | 0
AXL3-NUR | LIFT AXLE CONTROL KIT TRIPLE VALVE, NORMALLY UP, INTERNAL GAUGE, WITH RELAY | 630.63 | 378.38 | 0
CH-101 | 1/2" Chemair x 1/2" FNPT..Chemair OD .840 | 46.26 | 27.75 | 0.2
CH-102 | 3/4" Chemair x 3/4" FNPT..Chemair OD 1.050 | 66.08 | 39.66 | 0.2
CH-103 | 1" Chemair x 1" FNPT..Chemair OD 1.315 | 85.91 | 51.55 | 0.25
CH-104 | 1-1/2" Chemair x 1-1/2" FNPT..Chemair OD 1.900 | 120.16 | 79.3 | 0.33
CH-105 | 2" Chemair x 2" FNPT....Chemair OD 2.375" | 396.56 | 237.93 | 0.4
CH-108 | Chemair Cleaner - 16 oz | 26.42 | 15.85 | 1.03
CH-109 | Chemair Cement - 16 oz, 24 hour cure......Engineered Specialties makes no claims of the integrity of your current Chemaire system, install with caution | 66.08 | 39.66 | 1.21
CP-0100 | COMPRESSED AIR PIPE LABEL, BLUE, WITH DIRECTION ARROW, cut off unused direction arrow during installation, 1" x 7-1/2", EACH | 1.8 | 1.08 | 0
CP-0101 | NITROGEN PIPE LABEL, GREEN, WITH DIRECTION ARROW, cut off unused direction arrow during installation, 1" x 7-1/2", EACH | 1.8 | 1.08 | 0
CP-0102 | INERT GAS PIPE LABEL, GREEN, WITH DIRECTION ARROW, cut off unused direction arrow during installation, 1" x 7-1/2", EACH | 1.8 | 1.08 | 0
CP-0103 | ARGON PIPE LABEL, GREEN, WITH DIRECTION ARROW, cut off unused direction arrow during installation, 1' x 7-1/2', EACH | 1.8 | 1.08 | 0
CP-0104 | CARBON DIOXIDE PIPE LABEL, GREEN, WITH DIRECTION ARROW, cut off unused direction arrow during installation, 1" x 7-1/2", EACH | 1.8 | 1.08 | 0
CP-0150 | AIR TOOL HOLDER | 27.55 | 16.53 | 1.6
CP-0177 | AUTO TANK DRAIN, ELECTRIC, 1/2" MALE NPT INLET, 1/4 FEMALE NPT OUTLET ports, 115 volt, 1-45 minute cycle time, 1-10 second blow down time, with cord, 6 ft long | 60.07 | 36.05 | 1.61
CP-0190 | COMPRESSOR SHUT OFF VALVE, 110 VOLT, 3/4 FEMALE NPT | 120.16 | 72.09 | 1.5
CP-3825-20 | COIL HOSE 3/8 X 20 FT, 1/4 MALE NPT SWIVEL ENDS, REINFORCED POLYURETHANE, 200 PSI RATED, GREAT FLEXIBILITY | 27.55 | 16.53 | 1 lbs
CP-441-4X | VIBRATION PAD RUBBER/CORK.. SET OF 4, 4 X 4 X 1 | 24.24 | 14.54 | 1.13
CP-4525-L | PRESSURE GAUGE, BOTTOM MOUNT, 4-1/2" DIAMETER FACE, DRY, 0-200 PSI, 1/4" MALE NPT, PLASTIC LENS, 101D-454G | 28.65 | 17.19 | 0.8
CP-4525-R | PRESSURE GAUGE, REAR MOUNT, 4-1/2" DIAMETER FACE, DRY, 0-200 PSI, 1/4" MALE NPT 102D-454G | 28.65 | 17.19 | 0.6
H-100-75-3 | 1” MANIFOLD X (3) 3/4 OUTLETS | 110.51 | 66.3 | 3.14
H-100-75-4 | 1” MANIFOLD X (4) 3/4 OUTLETS | 149.2 | 89.51 | 4.1
H-100-75-5 | 1” MANIFOLD X (5) 3/4 OUTLETS | 151.98 | 91.18 | 5.09
H-50-25-4 | 1/2 MANIFOLD X (4) 1/4 OUTLETS | 71.08 | 42.65 | 1.8
H-50-25-5 | 1/2 MANIFOLD X (5) 1/4 OUTLETS | 75.69 | 45.4 | 2.24
H-50-50-4 | 1/2 MANIFOLD X (4) 1/2 OUTLETS | 90.98 | 54.59 | 1.12
H-50-50-5 | 1/2 MANIFOLD X (5) 1/2 OUTLETS | 106.29 | 63.76 | 2.16
H-50B-50-2 | 1/2 MANIFOLD X (2) 1/2 OUTLETS, one end blank, inert gas, wall spacing for Fastpipe 3/4 and 1" | 63.01 | 37.8 | 1.6
H-75-50-3 | 3/4 MANIFOLD X (3) 1/2 OUTLETS | 94.58 | 56.75 | 3.1
H-75-50-4 | 3/4 MANIFOLD X (4) 1/2 OUTLETS | 106.29 | 63.76 | 4.09
H-75-50-5 | 3/4 MANIFOLD X (5) 1/2 OUTLETS | 127.02 | 76.2 | 5.14
H-75-75-3 | 3/4 MANIFOLD X (3) 3/4 OUTLETS | 103.48 | 62.08 | 3
H-75-75-4 | 3/4 MANIFOLD X (4) 3/4 OUTLETS | 144.38 | 86.62 | 4.1
H-75-75-5 | 3/4 MANIFOLD X (5) 3/4 OUTLETS | 147.75 | 88.64 | 5.1
K215-218 GAUGE | SQUARE PRESSUE GAUGE FOR K93215-K93218, K96075 FILTER REGULATOR | 12 | 7.2 | 0.05
K215-BOWL | BOWL FOR 3/8" K93215 | 10.8 | 6.48 | 0.15
K215-CAP | ADJUSTMENT CAP FOR K93215 FILTER REGULATOR | 10.8 | 6.48 | 0.05
K215-FILTER | FILTER ONLY FOR K93215 3/8 | 6.35 | 3.81 | 0.04
K215-PLUNGER | PLUNGER DIAPHRAGM FOR 3/8" K93215 | 10.8 | 6.48 | 0.02
K216-217 FILTER | FILTER ONLY FOR K93216 AND K93217 and K96075 Vert | 9.09 | 5.46 | 0.09
K216-218 BOWL | BOWL FOR 1/2" K93216 THRU K93218 and K96075 Vert | 12 | 7.2 | 0.25
K216-218 CAP | ADJUSTMENT CAP FOR K93216-218 FILTER REGULATOR and K96075 Vert | 12 | 7.2 | 0.25
K216-218 PLUNGER | PLUNGER DIAPHRAGM FOR K93216-218 and K96075 Vert | 12 | 7.2 | 0.05
K218-FILTER | FILTER ONLY FOR K93218 1" | 12 | 7.2 | 0.15
K2951-FILTER | REPLACEMENT FILTER FOR K95150 1-1/2" | 48.06 | 28.83 | 0
K2952-FILTER | REPLACEMENT FILTER FOR K95200 2" | 84.11 | 50.47 | 0
K3015 | AUTO FILL TIRE INFLATOR | 176.39 | 105.83 | 5
K3020 | AUTO TIRE INFLATOR..+20 psi OPTION..Get SERIAL NUMBER hold +20 for 5 SECONDS..Get NUMBER OF CYCLES hold P1 FOR 5 SECONDS..To DEFLATE when in use PUSH (-) this will deflate the tire if a problem with the tire occurs. | 220.49 | 132.29 | 5
K30T | REGULATOR TO LUBRICATOR MOUNT BRACKET 3000 SERIES | 9.84 | 5.9 | 0.27
K35050 | 1/2" NPT BALL VALVE, BRASS, FEMALE X FEMALE | 10.8 | 6.48 | 0.431
K35050M | 1/2" NPT BALL VALVE, BRASS, MALE X FEMALE | 19.22 | 11.53 | 0.47
K35075 | 3/4" NPT BALL VALVE, BRASS, FEMALE X FEMALE | 14.01 | 8.41 | 0.79
K35075M | 3/4" NPT BALL VALVE, BRASS, MALE X FEMALE | 13.21 | 7.93 | 0.72
K35100 | 1" NPT BALL VALVE, BRASS, FEMALE X FEMALE | 19.93 | 11.97 | 1.1
K35100M | 1" NPT BALL VALVE, BRASS, MALE X FEMALE | 18.3 | 11.53 | 1.106
K35150 | 1-1/2" NPT BALL VALVE, BRASS, FEMALE X FEMALE | 42.05 | 25.23 | 2.39
K35200 | 2" NPT BALL VALVE, BRASS, FEMALE X FEMALE 600WOG | 61.1 | 36.65 | 3.44
K35300 | 3" NPT BALL VALVE, BRASS, FEMALE X FEMALE 400WOG | 218.26 | 130.97 | 10.5
K40T | REGULATOR TO LUBRICATOR MOUNT BRACKET 4000 SERIES | 9.47 | 5.68 | 0.3
K50T | REGULATOR TO LUBRICATOR MOUNT BRACKET 4000-06 SERIES | 11.86 | 7.11 | 0.344
K5220 | PLUG, 1/4" FEMALE NPT, INDUSTRIAL STYLE, FITS 30 CFM BODY | 1.09 | 0.65 | 0.05
K5221 | PLUG, 1/4" MALE NPT, INDUSTRIAL STYLE, FITS 30 CFM BODY | 1.09 | 0.65 | 0.05
K5226 | Quick Coupler Plug Pack,, 1/4 npt (3) Male and (3) Female 30CFM M | 5.5 | 3.3 | 0.32
K6220 | COUPLER, 1/4" FEMALE NPT PUSH TO CONNECT INDUSTRIAL STYLE 30 CFM BODY | 7.71 | 4.62 | 0.25
K6221 | COUPLER, 1/4" MALE NPT PUSH TO CONNECT INDUSTRIAL STYLE 30 CFM BODY | 7.71 | 4.62 | 0.22
K6241 | COUPLER, 1/2" MALE NPT PUSH TO CONNECT INDUSTRIAL STYLE 30 CFM BODY | 8.81 | 5.28 | 0.29
K7220 | 1/4" Female NPT Safety Quick Coupler 30 CFM TYPE M | 9.87 | 5.92 | 0.32
K7221 | 1/4" Male NPT Safety Quick Coupler 30 CFM TYPE M | 9.91 | 5.94 | 0.25
K7241 | 1/2" Male NPT Safety Quick Coupler 30 CFM TYPE M | 11.01 | 6.6 | 0.32
K8220 | PLUG, 1/4" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 3.26 | 1.96 | 0.06
K8221 | PLUG, 1/4" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 3.3 | 1.98 | 0.06
K8230 | PLUG, 3/8" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 4.36 | 2.62 | 0.12
K8231 | PLUG, 3/8" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 4.4 | 2.64 | 0.12
K8240 | PLUG, 1/2" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 4.95 | 2.97 | 0.19
K8241 | PLUG, 1/2" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 4.9 | 2.94 | 0.19
K90215 | AIR FILTER UNIT , 3/8" NPT PORTS (AF3000-03) with bracket | 24.24 | 14.54 | 0.75
K90216 | AIR FILTER UNIT , 1/2" NPT PORTS (AF4000-04) with bracket | 33.06 | 19.83 | 1.43
K90217 | AIR FILTER UNIT , 3/4" NPT PORTS (AF4000-06) with bracket | 38.58 | 23.14 | 2
K91215 | LUBRICATOR UNIT , 3/8" NPT PORTS (AIL3000-03) with bracket | 38.58 | 23.14 | 0.74
K91216 | LUBRICATOR UNIT , 1/2" NPT PORTS (AIL4000-04) with bracket | 44.09 | 26.45 | 1.4
K91217 | LUBRICATOR UNIT , 3/4" NPT PORTS (AIL4000-06) with bracket | 55.11 | 33.06 | 1.54
K9230 | COUPLER, 3/8" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 19.24 | 11.54 | 0.32
K9231 | COUPLER, 3/8" MALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 19.28 | 11.57 | 0.32
K9240 | COUPLER, 1/2" FEMALE NPT THREAD, SAFETY PUSH BUTTON, INDUSTRIAL STYLE, 70 CFM BODY | 19.79 | 11.87 | 0.38
K9241 | 1/2" Male NPT Safety Quick Coupler 70 CFM TYPE H | 19.83 | 11.89 | 0.38
K93210 | 1/4" INLINE REGULATOR WITH GAUGE, 1/4" NPT PORTS SMC | 42.5 | 25.49 | 0.7
K93211 | 3/8" INLINE REGULATOR WITH GAUGE, 3/8" NPT PORTS (AIR 3000-03) | 53.16 | 31.9 | 1.12
K93212 | 1/2" INLINE REGULATOR WITH GAUGE, 1/2" NPT PORTS | 68.82 | 41.28 | 2.27
K93215 | 3/8" FILTER REGULATOR UNIT WITH GAUGE, 3/8" NPT PORTS | 52.91 | 31.74 | 1.48
K93216 | 1/2" FILTER REGULATOR UNIT WITH GAUGE, 1/2" NPT PORTS | 77.16 | 46.29 | 3.08
K93217 | 3/4" FILTER REGULATOR UNIT WITH GAUGE, 3/4" NPT PORTS | 99.21 | 59.52 | 3.15
K93218 | 1" FILTER REGULATOR UNIT WITH GAUGE, 1" NPT PORTS | 110.2 | 66.12 | 4.64
K95150 | 1-1/2" NPT FILTER AF-15 with auto drain..(include MOUNT BRACKET and 4" PIPE NIPPLE) | 396.89 | 238.13 | 6.6
K95200 | 2" NPT FILTER AF-20 with auto drain..(include MOUNT BRACKET and 5" PIPE NIPPLE) | 507.14 | 304.28 | 17.2
K96050 | 1/2" VERTICAL FILTER REGULATOR 1/2" NPT PORTS | 125.11 | 75.06 | 5
K96075 | 3/4" VERTICAL FILTER REGULATOR 3/4" NPT PORTS | 125.11 | 75.06 | 5
R-01045 | ELECTRIC CORD REEL 16 GA X 45 FT, WITH SWIVEL, LEAD IN CORD (3 FT), RATED 10 AMPS AT 120 VOLTS | 173.2 | 103.91 | 11.5
R-03050 | Hose Reel, 3/8 X 50 FT, 1/2" inlet X 1/4" outlet | 225.4 | 135.24 | 35
R-03075 | Hose Reel, 3/8 X 75 FT, 1/2" inlet X 1/4" outlet | 308.26 | 184.95 | 55
R-05050 | Hose Reel, 1/2 X 50 FT, 1/2" inlet X 1/2" NPT outlet | 273.53 | 164.11 | 50
R-05100 | Hose Reel, 1/2 X 100 FT, 1/2" inlet X 1/2" NPT outlet | 546.32 | 327.79 | 75
R-SB03050 | SWIVEL BRACKET FOR R-03050 | 55.11 | 33.06 | 3.5
R-SB05050 | SWIVEL BRACKET FOR R-03075 R-03050 | 62.99 | 37.79 | 5
ST010T062 | MAXLINE STRUT CLAMP | 2.51 | 1.5 | 0.125
ST035NP100 | MAXLINE STRUT CLAMP | 2.93 | 1.75 | 0.2125
ST068T250 | MAXLINE STRUT CLAMP | 4.39 | 2.64 | 0.45
F0230 | 3/8 PUSH ON JUMPER HOSE, 3 FT (1-50610 1/4 nipple, 1-F0243 1/4 fem, 1-F0242 1/2 male, instructions) | 15.61 | 9.36 | 0
F0238-160 | 3/8" Push on Hose, 160' Roll | 240.33 | 144.19 | 21
F0238-FT | 3/8" Push on Hose, sold by the foot | 2.28 | 1.37 | 0.12
F0250-160 | 1/2" Push on Hose, 160' Roll | 300.42 | 180.26 | 30
F0250-FT | 1/2" Push on Hose, sold by the foot | 2.76 | 1.66 | 0.16
K92215 | 3/8" FILTER REGULATOR LUBRICATOR UNIT 3/8" NPT PORTS..(K93215, K30T, K91215) | 77.16 | 46.29 | 2.21
K92216 | 1/2" FILTER REGULATOR LUBRICATOR UNIT 1/2" NPT PORTS..(K93216, K40T, K91216) | 99.21 | 59.52 | 4.78
K92217 | 3/4" FILTER REGULATOR LUBRICATOR UNIT 3/4" NPT PORTS..(K93217,K50T, K91217) | 115.75 | 69.45 | 5
50700 | (1) Bottle Pipe Sealant, (1) roll of Teflon Tape | 11.01 | 6.6 | 1
TSUNAMI |  |  | 0.7
T0925 | 1/4" TSUNAMI MOUNT BRACKET, 21999-0867 | 19.78 | 13.84 | 0.4
T0950 | 1/2" TSUNAMI MOUNT RAPIDAIR BRACKET, plus (2) mount screws #8 x 2-1/4 | 35.6 | 24.91 | 0.8
T6025 | 1/4" NPT TSUNAMI WATER SEPARATOR UNIT, 21999-0390 | 217.58 | 152.31 | 1.4
T6050 | 1/2" NPT TSUNAMI WATER SEPARATOR UNIT, 21999-0131 | 346.81 | 242.76 | 0
T6075 | 3/4" NPT TSUNAMI WATER SEPARATOR UNIT, 2199-1034 | 408.79 | 286.15 | 0
T6100 | TSUNAMI WATER SEPARATOR 1" NPT, 21999-0082 | 421.98 | 295.38 | 5.6
T6125 | 1/4" TSUNAMI WATER SEPARATOR SERVICE KIT, 21999-0846 | 65.93 | 46.15 | 0
T6150 | 1/2" TSUNAMI WATER SEPARATOR SERVICE KIT, 21999-0227 | 81.76 | 57.23 | 0.6
T6175 | 3/4" TSUNAMI WATER SEPARATOR SERVICE KIT, 21999-0228 | 118.68 | 83.08 | 0.9
T7025 | 1/4" NPT TSUNAMI OIL COALESCING FILTER UNIT, 21999-0390-Z-FD | 210.99 | 147.7 | 1.4
T7050 | 1/2" NPT TSUNAMI OIL COALESCING FILTER UNIT, 21999-0131-Z-FD | 349.45 | 244.61 | 3.5
T7100 | TSUNAMI OIL COALESCING FILTER UNIT, 1" NPT, 21999-0082-Z-FD | 415.38 | 290.77 | 0
T7125 | 1/4" TSUNAMI OIL COALESCING REPLACEMENT ELEMENT, CHANGE AT LEAST EVERY 6 MONTHS each | 30.86 | 21.6 | 0.3
T7150 | 1/2" TSUNAMI OIL COALESCING REPLACEMENT ELEMENT, CHANGE AT LEAST EVERY 6 MONTHS each | 43.91 | 30.75 | 0.6
T8025 | 1/4" NPT TSUNAMI ACTIVATED CARBON FILTER UNIT, 21999-0390-AC | 178.02 | 124.62 | 1.4
T8050 | 1/2" NPT TSUNAMI ACTIVATED CARBON FILTER UNIT, 21999-0131-AC | 284.84 | 199.39 | 3.5
T8125 | 1/4" TSUNAMI ACTIVATED CARBON REPLACEMENT ELEMENT, CHANGE AT LEAST EVERY 6 MONTHS each | 47.47 | 33.23 | 0.3
T8150 | 1/2" TSUNAMI ACTIVATED CARBON REPLACEMENT ELEMENT, CHANGE AT LEAST EVERY 6 MONTHS each | 91.38 | 63.97 | 1
T9025 | 1/4" NPT TSUMANI FILTRATION PACKAGE #5, WATER SEPARATOR, OIL COALESCING, ACTIVE CARBON FILTERS, 21999-0421 | 665.93 | 466.15 | 5
T9050 | 1/2" NPT TSUNAMI FILTRATION PACKAGE #5, WATER SEPARATOR, OIL COALESCING, ACTIVE CARBON FILTERS, 21999-0255 | 1053.63 | 737.53 | 18
DURATEC |  |  | 0.9
D6026 | 1/2" DURATEC 100 FT ROLL, non returnable | 147.39 | 132.65 | 9
D6027 | 1/2" DURATEC 300 FT ROLL, non returnable | 442.53 | 398.27 | 27
D6030 | 3/4" DURATEC 100 FT ROLL, non returnable | 237.49 | 213.74 | 15
D6031 | 3/4" DURATEC 300 FT ROLL, non returnable | 682.66 | 614.4 | 48
D6032 | 1" DURATEC 100 FT ROLL, non returnable | 300.76 | 270.69 | 27
D6033 | 1" DURATEC 300 FT ROLL, non returnable | 900.94 | 810.85 | 76
D8002 | 1/2" DURATEC STRAIGHT X 1/2" MALE NPT | 10.08 | 9.07 | 0.18
D8003 | 3/4" DURATEC STRAIGHT 3/4" MALE NPT | 20.65 | 18.58 | 0.35
D8004 | 1" DURATEC STRAIGHT 1" MALE NPT | 30.81 | 27.73 | 0.54
D8006 | 1/2" DURATEC STRAIGHT 1/2" FEMALE NPT | 10.77 | 9.69 | 0.18
D8007 | 3/4" DURATEC STRAIGHT 3/4" FEMALE NPT | 20.85 | 18.76 | 0.33
D8008 | 1" DURATEC STRAIGHT 1" FEMALE NPT | 34.22 | 30.8 | 0.54
D8009 | 1/2" DURATEC Single Port Elbow, 1/2" Female NPT | 16 | 14.4 | 0.25
D8010 | 1/2" DURATEC EQUAL TEE | 25.15 | 22.64 | 0.38
D8011 | 3/4" DURATEC EQUAL TEE | 45.22 | 40.69 | 0.83
D8012 | 1" DURATEC EQUAL TEE | 78.18 | 70.36 | 1.38
D8014 | 3/4" DURATEC REDUCING TEE, 1/2" TUBING DROP LEG | 39.7 | 35.73 | 0.65
D8016 | 1" DURATEC REDUCING TEE, DROP LEG 1/2" TUBING | 66.99 | 60.29 | 1.11
D8018 | 1" DURATEC REDUCING TEE, DROP LEG 3/4" TUBING | 74.54 | 67.08 | 1.18
D8019 | 1/2" DURATEC REDUCING TEE, DROP LEG 1/2" FEMALE NPT | 23.01 | 20.71 | 0.34
D8021 | 1/2" DURATEC UNION | 12.58 | 11.32 | 0.26
D8022 | 3/4" DURATEC UNION | 31.34 | 28.21 | 0.58
D8023 | 1" DURATEC UNION | 52.43 | 47.19 | 0.81
D8024 | 3/4" DURATEC REDUCING UNION 3/4" TUBING x 1/2" TUBING | 26.17 | 23.56 | 0.48
D8025 | 1" DURATEC REDUCING UNION 1" TUBING X 3/4" TUBING | 36.51 | 32.86 | 0.83
D8026 | 1/2" DURATEC END CAP | 10.5 | 9.45 | 0.13
D8027 | 3/4" DURATEC END CAP | 19.08 | 17.17 | 0.29
D8028 | 1" DURATEC END CAP | 26.93 | 24.24 | 0.5
D8030 | 1/2" DURATEC STRAIGHT 1/2" MALE NPT STAINLESS STEEL | 30.84 | 27.75 | 0.18
D8031 | 3/4" DURATEC STRAIGHT 3/4" MALE NPT STAINLESS STEEL | 57.42 | 51.68 | 0.35
D8032 | 1" DURATEC STRAIGHT 1" MALE NPT STAINLESS STEEL | 72.53 | 65.27 | 0.54
D8038 | 1/2" DURATEC INLINE HAND VALVE | 43.42 | 39.08 | 0.45
D8039 | 3/4" DURATEC INLINE HAND VALVE | 56.45 | 50.8 | 0.81
D8040 | 1" DURATEC INLINE HAND VALVE | 72.45 | 65.21 | 1.63
D8047 | 1/2" DURATEC SPLIT RING | 1.02 | 0.93 | 0.02
D8048 | 3/4" DURATEC SPLIT RING | 1.41 | 1.26 | 0.03
D8049 | 1" DURATEC SPLIT RING | 2.52 | 2.26 | 0
D8050 | DURATEC TUBING DEBUR TOOL, non returnable | 14.41 | 12.97 | 1
D8054 | 1/2" DURATEC ORING | 0.68 | 0.62 | 0.01
D8055 | 3/4" DURATEC ORING | 0.8 | 0.72 | 0.01
D8056 | 1" DURATEC ORING | 1.06 | 0.96 | 0.01
D8066 | 1" DURATEC PIPE CLIP EACH | 3.6 | 3.24 | 0.25
D8067 | 3/4" DURATEC ELBOW | 36.04 | 32.44 | 0.58
D8068 | 1" DURATEC ELBOW | 45.35 | 40.81 | 0.96
D8078 | 3/4" DURATEC REDUCING TEE, DROP LEG 1/2" FEMALE NPT | 25.66 | 23.1 | 0.61
D8080 | 1/2" DURATEC ELBOW | 14.14 | 12.72 | 0.25
D8064-10 | 1/2" DURATEC PIPE CLIP PACK OF 10 | 12 | 10.8 | 0.11
D8065-10 | 3/4" DURATEC PIPE CLIP PACK OF 10 | 19.22 | 17.3 | 0.18
D8066-10 | 1" DURATEC PIPE CLIP PACK OF 10 | 24.02 | 21.62 | 0.2
D8101 | 1/2" DURATEC OUTLET KIT, 1/2" OUTLET PORT..M81010 ALUM BLOCK, 1/2" BRASS PLUG.. 3/8"' DRAIN, D8002 STR FITTING | 42.05 | 37.85 | 0.83
D8101V | 1/2" DURATEC OUTLET KIT, 1/2" OUTLET PORT WITH SHUTOFF..M81010 ALUM BLOCK, 1/2" BRASS PLUG.. 3/8" DRAIN, D8002 STR FITTING, SHUTOFF VALVE | 52.87 | 47.59 | 1
D8200 | 1/2" DUAL PORT OUTLET (F2025 (1/2") + D8002) DURATEC | 48.06 | 43.25 | 2
D8200V | 1/2" DUAL PORT OUTLET W/ SHUTOFF ( F2025 (1/2") + D8002 + 1/2 M X F BALL VALVE) DURATEC | 56.47 | 50.82 | 2
D8201 | 3/4" DUAL PORT OUTLET (F2026 (3/4") + D8003) DURATEC | 54.06 | 48.65 | 2
D8201V | 3/4" DUAL PORT OUTLET W/ SHUTOFF ( F2026 (3/4") + D8003 + 3/4 M X F BALL VALVE) DURATEC | 63.68 | 57.32 | 2.72
DRYER |  |  | 0.85
C-4200 | REFRIGERATED DRYER 42CFM, 120 VOLT, 1PH, 60 HZ | 1322.99 | 793.79 | 80
FASTPIPE |  |  | 0.7
F0017 | Clamp for 1-5/8" unistrut, each | 2.64 | 1.59 | 0.1375
F0018 | Beam Clamp, thru hole, 5/16 or 3/8 threaded rod | 3.72 | 2.23 | 0.33
F0019 | Loop Hanger, accepts 3/8 threaded rod, for 1" or 3/4" | 1.44 | 0.86 | 0.09
F0020 | Loop Hanger, accepts 3/8 threaded rod | 1.8 | 1.08 | 0.1
F0021 | Cantilever Arm, 12", 1-5/8 unistrut | 17.42 | 10.45 | 2.61
F0022 | Clamp for 1-5/8" unistrut, each | 3 | 1.8 | 0.156
F0023 | Clamp for 1-5/8" unistrut, each | 3.72 | 2.23 | 0.2811
F0024 | Loop Hanger, accepts 3/8 threaded rod | 2.04 | 1.22 | 0.12
F0025 | Clamp for 1-5/8" unistrut, each | 4.68 | 2.81 | 0.4
F0028 | 3/8-16 THREADED ROD, 6 FT LONG | 6.73 | 4.04 | 1.7
F0029 | 3/8-16 HEX NUT, 100/BAG | 10.8 | 6.48 | 1.63
F0043 | Saddle drop drill bit - 1" main pipe (9/16 diam) | 24.02 | 14.41 | 0.2
F0044 | Saddle drop drill bit - 1-1/2", 2", 3" main pipe (3/4 diam) | 24.02 | 14.41 | 0.2
F0045 | Saddle drop drill bit - 4", 6" main pipe (15/16" diam) | 24.02 | 14.41 | 0.3
F0139 | Spray bottle | 10.8 | 6.48 | 0.2
F0140 | Pipe Cutter 3/4" thru 2" | 40.85 | 24.51 | 1.19
F0141 | Pipe Deburring Tool 3/4" THRU 2" | 95.91 | 57.54 | 1
F0142 | Pipe Deburring Tool 3/4" and 1" | 20.42 | 12.25 | 0.14
F0143 | Pipe cutter replacement wheels for F0140, 2 pack | 14.41 | 8.64 | 0.15
F0212 | Jumper Hose Rubber 1/2" npt Male x Fem x 2 FT | 32.43 | 19.45 | 0.54
F0213 | Jumper Hose Rubber 1/2" npt Male x Fem x 3 FT | 34.84 | 20.91 | 0.69
F0214 | Jumper Hose Rubber 3/4" npt Male x Fem x 2 FT | 38.44 | 23.07 | 0.88
F0215 | Jumper Hose Rubber 3/4" npt Male x Fem x 3 FT | 48.06 | 28.83 | 1.22
F0216 | Jumper Hose Rubber 1" npt Male x Fem x 2 FT | 72.09 | 43.26 | 1.52
F0217 | Jumper Hose Rubber 1" npt Male x Fem x 3 FT | 79.31 | 47.59 | 1.96
F0221 | Jumper Hose Rubber 3/4" npt Male x Fem x 5 FT | 51.66 | 31 | 1.81
F0225 | Jumper Hose Braided SS 1-1/2 " npt Male x Fem x 18" | 127.38 | 76.43 | 3.63
F0226 | Jumper Hose Braided SS 1-1/2 " npt Male x Fem x 36" | 180.24 | 108.15 | 6
F0227 | Jumper Hose Braided SS 2 " npt Male x Fem x 36" | 216.3 | 129.78 | 9
F0228 | Jumper Hose Braided SS 3" npt Male x Fem x 36" | 420.59 | 252.36 | 20
F0234 | Jumper Hose Braided SS 4" Flange X 36" | 420.59 | 252.36 | 26
F0236 | Jumper Hose Braided SS 6" Flange X 36" | 660.93 | 396.56 | 42
F0238-160 | 3/8" Push on Hose 160 FT ROLL | 240.33 | 144.19 | 21
F2038-FT | 3/8" Push on Hose PER FT | 2.28 | 1.6 | 0.12
F0239 | 3/8 Hose Strain Relief | 11.99 | 7.19 | 0.2
F0240 | 3/8" Push on Hose Fitting x 1/4" Male npt | 2.66 | 1.6 | 0.06
F0241 | 3/8" Push on Hose Fitting x 3/8" Male npt | 3.32 | 2 | 0.08
F0242 | 3/8" Push on Hose Fitting x 1/2" Male npt | 3.99 | 2.39 | 0.12
F0243 | 3/8" Push on Hose Fitting x 1/4" Female swivel npt | 3.32 | 2 | 0.06
F0244 | 3/8" Push on Hose Fitting x 1/2" Female swivel npt | 4.81 | 2.89 | 0.2
F0250-160 | 1/2" Push on Hose 160 FT ROLL | 300.42 | 180.26 | 30
F0250-FT | 1/2" Push on Hose PER FT | 2.76 | 1.66 | 0.16
F0251 | 1/2" Push on Hose Fitting x 1/2" Male npt | 4.65 | 2.79 | 0.125
F0252 | 1/2" Push on Hose Fitting x 1/2" Female swivel npt | 6.66 | 3.99 | 0.113
F0259 | 1/2 Hose Strain Relief | 13.32 | 7.99 | 0.2
F0325 | 3/8" X 25 FT AIR HOSE WITH 1/4" NPT MALE ENDS, RUBBER, TEKTON | 36.04 | 21.62 | 3.9
F0350 | 3/8" X 50 FT AIR HOSE WITH 1/4" NPT MALE ENDS, RUBBER, TEKTON | 58.24 | 34.94 | 7.5
F0615 | Expansion Joint FEM x FEM NPT (2 F2218's NEEDED) | 54.06 | 32.43 | 3
F0616 | Expansion Joint FEM x FEM NPT (2 F4418's NEEDED) | 80.5 | 48.3 | 4
F0617 | Expansion Joint FEM x FEM NPT (2 F5518's NEEDED) | 93.72 | 56.24 | 6
F0619 | Expansion Joint FEM x FEM NPT (2 F7718's NEEDED) | 168.23 | 100.94 | 12
F0621 | Expansion Joint Flange, ANSI 150# 8 bolt x 9.0" O.D. | 120.16 | 72.09 | 18
F0622 | Expansion Joint Flange, ANSI 150# 8 bolt x 11.0" O.D. | 204.28 | 122.57 | 28
F1000 | Blue Aluminum Pipe (19ft 2 inch) each 20mm od | 38.58 | 23.14 | 3
F1000CAN | 3/4" BLUE ALUMINUM TUBING - USA - ***19 ft*** SECTION, non returnable | 44.09 | 26.45 | 3
F1000Green | Green Aluminum Pipe (19ft 2 inch) each 20mm od | 38.58 | 23.14 | 3
F1002 | Union | 13.21 | 7.93 | 0.17
F1003 | 90° Elbow | 14.41 | 8.64 | 0.19
F1005 | Equal Tee | 18.02 | 10.82 | 0.28
F1006 | End Cap | 24.02 | 14.41 | 0.17
F1018 | Threaded Male Adapter 1/2" Male NPT | 20.37 | 12.22 | 0.19
F1020 | Spanner wrench, 2 required | 6 | 3.6 | 0.07
F1022-10 | Pipe Clip 10 PACK thru hole, or use 5/16 threaded rod | 18.02 | 10.82 | 0.44
F1024 | Wall Outlet, ¾” Inlet, (4) ½” fem npt outlets | 39.12 | 23.48 | 1.17
F1051 | Cross | 19.22 | 11.53 | 0.4
F1071 | 3/4" FASTPIPE TENSION ORING BLUE | 1.19 | 0.72 | 0
F1076 | inner parts set oring and ss bite ring | 3.3 | 1.98 | 0.5
F1118 | Threaded Male Adapter 3/4" Male NPT | 20.42 | 12.25 | 0.19
F1120 | Threaded Female Adapter 3/4" female NPT | 22.83 | 13.69 | 0.19
F1863 | Blue Aluminum Pipe (7ft 6inch) each 20mm od | 19.83 | 11.89 | 1.3
F2000 | Blue Aluminum Pipe (19ft 2 inch) each 25mm od | 60.63 | 36.37 | 4.2
F2000CAN | 1" BLUE ALUMINUM TUBING - USA - ***19 ft*** SECTION, non returnable | 60.63 | 36.38 | 4.2
F2000Green | Green Aluminum Pipe (19ft 2 inch) each 25mm od | 60.63 | 36.37 | 4.2
F2002 | Union | 21.15 | 12.69 | 0.31
F2003 | 90° Elbow | 22.47 | 13.48 | 0.36
F2004 | 45° Elbow | 22.83 | 13.69 | 0.33
F2005 | Equal Tee | 26.43 | 15.86 | 0.5
F2006 | End Cap | 32.43 | 19.45 | 0.31
F2018 | Threaded Male Adapter 1/2" Male NPT | 26.32 | 15.79 | 0.3
F2020 | Spanner wrench, 2 required | 7.2 | 4.32 | 0.1
F2022-10 | Pipe Clip 10 PACK thru hole, or use 5/16 threaded rod | 21.62 | 12.97 | 0.5
F2024 | Wall Outlet, 1” Inlet, (4) ½” fem npt outlets | 39.68 | 23.8 | 1.18
F2025 | DUAL PORT OUTLET, 1/2" NPT TOP PORT, 1/2" NPT OUTLET PORT (2X) W/ DRAIN VALVE (OUTLET WITH FEMALE NPT TOP ONLY) | 42.06 | 25.24 | 1.71
F2026 | DUAL PORT OUTLET, 3/4" NPT TOP PORT, 1/2" NPT OUTLET PORT (2X) W/ DRAIN VALVE (OUTLET WITH FEMALE NPT TOP ONLY) | 43.26 | 25.96 | 1.71
F2051 | Cross | 30.03 | 18.02 | 0.7
F2065 | 1" FASTPIPE SEALING ORING BLACK | 1.19 | 0.72 | 0.01
F2070 | 1" STAINLESS STEEL BITE RING | 2.39 | 1.44 | 0.01
F2071 | 1" FASTPIPE TENSION ORING BLUE | 1.19 | 0.72 | 0
F2076 | inner parts set oring and ss bite ring | 3.3 | 1.98 | 0.5
F2107 | Reduction Tee 1 3/4" | 26.43 | 15.86 | 0.44
F2118 | Threaded Male Adapter 3/4" Male NPT | 26.39 | 15.84 | 0.29
F2121 | Reduction Union 1" X 3/4" | 21.62 | 12.97 | 0.27
F2210 | Saddle Drop 1" 1" | 31.24 | 18.74 | 0.63
F2210C | Saddle drop gasket | 2.39 | 1.44 | 0.01
F2218 | Threaded Male Adapter 1" Male NPT | 26.43 | 15.86 | 0.31
F2220 | Threaded Female Adapter 1" female NPT | 30.03 | 18.02 | 0.35
F2863 | Blue Aluminum Pipe (7ft 6inch) each 25mm od | 29.76 | 17.85 | 1.5
F3100 | HEX NUT, NICKEL PLATED BRASS 1" FASTPIPE | 6 | 3.6 | 0.35
F3111 | GASKET FOR BRASS INSERTS 1" FASTPIPE | 1.19 | 0.72 | 0.02
F3125 | BRASS INSERT 1/4" FEMALE NPT 1" FASTPIPE | 7.2 | 4.32 | 0.25
F3150 | BRASS INSERT 1/2" FEMALE NPT 1" FASTPIPE | 7.2 | 4.32 | 0.24
F3175 | BRASS INSERT 3/4" FEMALE NPT 1" FASTPIPE | 7.2 | 4.32 | 0.18
F3400 | HEX NUT, NICKEL PLATED BRASS 3/4" FASTPIPE | 6 | 3.6 | 0.21
F3411 | GASKET FOR BRASS INSERTS 3/4" FASTPIPE | 1.19 | 0.72 | 0
F3425 | BRASS INSERT 1/4" FEMALE NPTF 3/4" FASTPIPE | 6.6 | 3.96 | 0.18
F3450 | BRASS INSERT 1/2" FEMALE NPTF 3/4" FASTPIPE | 6.6 | 3.96 | 0.11
F4000 | Blue Aluminum Pipe (19ft 2 inch) each 40mm od | 88.19 | 52.91 | 8.4
F4000CAN | 1-1/2" BLUE ALUMINUM TUBING - USA - ***19 ft*** SECTION, non returnable | 120.16 | 72.1 | 8.4
F4000Green | Green Aluminum Pipe (19ft 2 inch) each 40mm od | 88.19 | 52.91 | 8.4
F4002 | Union | 33.64 | 20.18 | 1.05
F4003 | 90° Elbow | 34.84 | 20.91 | 1.26
F4004 | 45° Elbow | 40.85 | 24.51 | 1.2
F4005 | Equal Tee | 52.87 | 31.72 | 1.78
F4006 | End Cap | 40.85 | 24.51 | 1.13
F4020 | Spanner wrench, 2 required | 12 | 7.2 | 0.18
F4022-10 | Pipe Clip 10 PACK thru hole, or use 5/16 threaded rod | 33.64 | 20.18 | 1.81
F4051 | Cross | 60.07 | 36.05 | 2.4
F4065 | 1-1/2" FASTPIPE PARTS ORING | 1.8 | 1.08 | 0.01
F4065V | 1-1/2" PARTS ORING GREEN VITON RK | 0.7 | 0.42 | 0.01
F4067 | 1-1/2" CONE NUT, SPARE PARTS | 3.47 | 2.08 | 0.31
F4068 | 1-1/2" COLLET, SPARE PARTS | 0.88 | 0.52 | 0.08
F4069 | 1-1/2" BACKER, SPARE PARTS | 0.74 | 0.44 | 0.08
F4070 | 1-1/2" FASTPIPE STAINLESS STEEL BITE RING | 0.32 | 0.19 | 0.01
F4110 | Saddle Drop 1-1/2" 3/4" | 38.44 | 23.07 | 0.5
F4206 | Reduction Tee 1-1/2" 3/4" | 50.46 | 30.28 | 1.4
F4207 | Reduction Tee 1-1/2" 1" | 51.66 | 31 | 1.45
F4210 | Saddle Drop 1-1/2" 1" | 38.57 | 23.14 | 0.64
F4210C | Saddle drop gasket | 2.39 | 1.44 | 0.02
F4218 | Threaded Male Adapter 1" Male NPT | 48.02 | 28.81 | 1.05
F4221 | Reduction Union 1-1/2" X 1" | 32.43 | 19.45 | 0.73
F4223 | Reduction Union 1-1/2" X 3/4" | 33.06 | 19.83 | 0.7
F4418 | Threaded Male Adapter 1-1/2" Male NPT | 48.06 | 28.83 | 1.08
F4420 | Threaded Female Adapter 1-1/2" female NPT | 51.66 | 31 | 1.28
F5000 | Blue Aluminum Pipe (19ft 2 inch) each 50mm od | 115.75 | 69.45 | 10.6
F5000CAN | 2" BLUE ALUMINUM TUBING - USA - ***19 ft*** SECTION, non returnable | 143.31 | 100.32 | 10.6
F5000Green | Green Aluminum Pipe (19ft 2 inch) each 50mm od | 115.75 | 69.45 | 10.6
F5002 | Union | 40.85 | 24.51 | 1.9
F5003 | 90° Elbow | 48.06 | 28.83 | 2.49
F5004 | 45° Elbow | 54.06 | 32.43 | 2.2
F5005 | Equal Tee | 66.09 | 39.65 | 3.59
F5006 | End Cap | 57.68 | 34.61 | 1.96
F5020 | Spanner wrench, 2 required | 54.06 | 32.43 | 0.91
F5022-10 | Pipe Clip 10 PACK thru hole, or use 5/16 threaded rod | 42.05 | 25.23 | 2.31
F5051 | Cross | 78.1 | 46.86 | 5
F5065 | 2" FASTPIPE ORING | 2.4 | 1.44 | 0.01
F5070 | 2" FASTPIPE STAINLESS STEEL BITE RING | 3.59 | 2.15 | 0.01
F5110 | Saddle Drop 2" 3/4" | 39.65 | 23.79 | 0.88
F5206 | Reduction Tee 2" 3/4" | 64.88 | 38.92 | 2.5
F5207 | Reduction Tee 2" 1" | 66.09 | 39.65 | 2.5
F5210 | Saddle Drop 2" 1" | 39.76 | 23.85 | 0.99
F5210C | Saddle drop gasket | 2.39 | 1.44 | 0.01
F5221 | Reduction Union 2" X 1" | 42.99 | 25.79 | 1.2
F5223 | Reduction Union 2" X 3/4" | 42.43 | 25.46 | 1.1
F5418 | Threaded Male Adapter 1-1/2" Male NPT | 54.02 | 32.41 | 1.76
F5421 | Reduction Union 2" X 1-1/2" | 44.46 | 26.67 | 1.6
F5518 | Threaded Male Adapter 2" Male NPT | 54.06 | 32.43 | 1.79
FI0028 | Clamp for 1-5/8" unistrut, each | 5.04 | 3.02 | 0.5
FI0030 | Loop Hanger, accepts 3/8 threaded rod | 3 | 1.8 | 0.25
FI0031 | Loop Hanger, accepts 3/8 threaded rod | 4.8 | 2.88 | 0.34
FI0032 | Loop Hanger, accepts 3/8 threaded rod | 7.2 | 4.32 | 0.75
FI0035 | Clamp for 1-5/8" unistrut, each | 8.05 | 4.83 | 0.94
FI0040 | Clamp for 1-5/8" unistrut, each | 13.21 | 7.93 | 1.25
FI0148 | Pipe Cutter 2" thru 3" | 209.46 | 125.67 | 3.5
FI0149 | Manual Pipe Cutter 4" thru 6" | 330.74 | 198.44 | 4.3
FI0153 | Pipe Deburring Tool 3" elect drill required | 385.86 | 231.51 | 1.2
FI0154 | Pipe Deburring Tool / Pipe Marker 4" elect drill required | 480.59 | 288.35 | 0.94
FI0155 | Pipe Deburring Tool / Pipe Marker 6" elect drill required | 676.47 | 405.88 | 1.6
FI7000 | Blue Aluminum Pipe (19ft 2 inch) each 80mm od | 242.99 | 145.79 | 22.5
FI7002 | Union | 88.91 | 53.35 | 4.1
FI7003 | 90° Elbow | 103.34 | 62 | 5.1
FI7005 | Equal Tee | 139.39 | 83.63 | 7.3
FI7006 | End Cap | 104.05 | 62.43 | 2.5
FI7012 | Saddle Drop 3" 1/2" NPT | 52.76 | 31.66 | 3.1
FI7020 | Spanner wrench, 2 required | 99.23 | 59.54 | 2.1
FI7022 | Pipe Clip EACH thru hole, or use 3/8 threaded rod | 6.6 | 3.96 | 0.213
FI7065 | 3" FASTPIPE INDUSTRIAL ORING | 3.59 | 2.15 | 0.02
FI7070 | 3" STAINLESS STEEL BITE RING FASTPIPE INDUSTRIAL | 4.8 | 2.88 | 0.03
FI7110 | Saddle Drop 3" 3/4" | 51.66 | 31 | 4
FI7112 | Saddle Drop 3" 3/4" NPT | 52.83 | 31.7 | 3.1
FI7210 | Saddle Drop 3" 1" | 51.79 | 31.07 | 3.1
FI7210C | Saddle drop gasket | 2.39 | 1.44 | 0.01
FI7312 | Saddle Drop 3" 1" NPT | 52.87 | 31.72 | 3.1
FI7509 | Reduction Tee 3" 2" NPT | 144.2 | 86.52 | 5.4
FI7718 | Threaded Male Adapter 3" Male NPT | 56.47 | 33.88 | 3
FI7900 | Flange, compression x flange, ANSI 150# 4 bolt x 7.5 O.D. | 140.44 | 84.26 | 5.8
FI7905 | Bolt and Gasket set, 4 x 2-3/4" long bolts | 31.24 | 18.74 | 11.9
FI8000 | Blue Aluminum Pipe (19ft 2 inch) each 102mm od | 419.99 | 251.99 | 33.2
FI8002 | Union | 96.13 | 57.68 | 3.9
FI8003 | 90° Elbow | 84.11 | 50.47 | 2.16
FI8004 | 45° Elbow | 84.11 | 50.47 | 1.89
FI8005 | Equal Tee | 108.14 | 64.88 | 3.29
FI8006 | End Cap | 108.14 | 64.88 | 1.44
FI8076 | inner parts seal | 48.06 | 28.83 | 0.42
FI8221 | Union Plug x 2" Female NPT | 71.86 | 43.13 | 2
FI8312 | Saddle Drop 4" 1" | 84.11 | 50.47 | 1.3
FI8321 | Union Plug x 3" Female NPT | 72.37 | 43.42 | 1.9
FI8888 | Valve | 781.11 | 468.67 | 28
FI8900 | Flange, ANSI 150# 8 bolt x 9.0" O.D. | 132.17 | 79.3 | 5.2
FI8905 | Bolt and Gasket set, 8 x 3" long bolts | 66.79 | 40.08 | 3.55
FI9000 | Blue Aluminum Pipe (19ft 2 inch) each 153mm od | 829.99 | 497.99 | 64.2
FI9002 | Union | 132.17 | 79.3 | 7.12
FI9003 | 90° Elbow | 168.23 | 100.94 | 4.84
FI9004 | 45° Elbow | 168.23 | 100.94 | 4.09
FI9005 | Equal Tee | 240.33 | 144.19 | 7.24
FI9006 | End Cap | 156.21 | 93.72 | 2.1
FI9020 | Rems Akku Press Cordless Lugging Tool | 2403.44 | 1442.06 | 19
FI9021 | LugTool Jaw Set , 4" and 6" jaw set | 1081.54 | 648.92 | 9
FI9076 | inner parts seal | 72.09 | 43.26 | 0.75
FI9221 | Union Plug x 2" Female NPT | 120.16 | 72.09 | 4
FI9312 | Saddle Drop 6" 1" | 96.13 | 57.68 | 1.34
FI9321 | Union Plug x 3" Female NPT | 122.57 | 73.54 | 3.5
FI9821 | Reduction Union 6" X 4" | 360.51 | 216.3 | 1.82
FI9900 | Flange, ANSI 150# 8 bolt x 11.0" O.D. | 180.24 | 108.15 | 7.5
FI9905 | Bolt and Gasket set, 8 x 3-1/4" long bolts | 101.29 | 60.78 | 5.2
FI9999 | Valve | 1176.01 | 705.6 | 44
F0136 | Tool kit: spanners,deburr, cutter, spray bottle | 63.68 | 38.21 | 1.64
F0137 | Tool kit: spanners,deburr, cutter, spray bottle | 66.09 | 39.65 | 1.68
F0138 | Tool kit: spanners,deburr, cutter, spray bottle | 180.24 | 108.15 | 2
F0145 | Tool kit: spanners,deburr, cutter, spray bottle | 240.33 | 144.19 | 4.6
F1007 | Reduction Tee 3/4" 1/4" NPT | 32.34 | 19.4 | 0.63
F1009 | Reduction Tee 3/4" 1/2" NPT | 32.39 | 19.43 | 0.56
F1014 | 3/4" FASTPIPE SINGLE PORT OUTLET KIT (M81010, F1018, 50136, 50120, M7510-SPACER, Yellow Inst Sheet) | 38.44 | 23.07 | 1.02
F1021 | 3/4" TOOLSET FASTPIPE, (2) F2020 SPANNER, DEBURR TOOL | 29.76 | 17.85 | 0
F1024 TOP KIT | FASTPIPE 3/4 OUTLET KIT CONVERSION TO SHUTOFF (F3400-F3411-F3450-F1018-K35050M) | 24.03 | 14.41 | 1
F1024V | Wall Outlet w/shutoff, ¾” Inlet, (4) ½” fem npt outlets | 65.58 | 39.35 | 2.38
F1024W | Outside or Thru Wall Outlet, (1) 1/2" fem npt outlet | 51.66 | 31 | 1.13
F1073 | 90° Elbow X 1/4" FEMALE NPT | 28.73 | 17.24 | 0.54
F1076-10 | 3/4 FASTPIPE ORING/BITE RING 10 PACK | 9.91 | 5.94 | 0
F1093 | 90° Elbow X 1/2" FEMALE NPT | 29.99 | 18 | 0.47
F1111 | Valve Kit (ball valve + (2) threaded adapters | 60.07 | 36.05 | 1.07
F1221 | Threaded Female Adapter 1/2" female NPT | 24.02 | 14.41 | 0.53
F1863-12 | 3/4" ALUMINUM PIPE (7" 6") FASTPIPE 12 PACK | 230.99 | 138.59 | 22
F1863CAN | 3/4" BLUE ALUMINUM TUBING - USA - 7"6" SECTION | 22.04 | 13.22 | 1
F1863Green | green 3/4" ALUMINUM PIPE (7" 6") FASTPIPE EACH, green, non returnable | 19.83 | 11.89 | 1.3
F2000-12 | 1" ALUMINUM TUBING 19 FT 8 INCHES LONG FASTPIPE 12 PACK | 682.49 | 409.49 | 70
F2007 | Reduction Tee 1" 1/4" NPT | 39.54 | 23.73 | 1.19
F2008 | Reduction Tee 1" 3/4" NPT | 39.65 | 23.79 | 1.05
F2009 | Reduction Tee 1" 1/2" NPT | 39.61 | 23.76 | 1.05
F2011 | Saddle Drop 1" 1/4" NPT | 38.35 | 23.01 | 1.25
F2012 | Saddle Drop 1" 1/2" NPT | 38.4 | 23.04 | 1.24
F2014 | 1" FASTPIPE SINGLE PORT OUTLET KIT (M81010, F2018, 50136, 50120, M7510-SPACER, Yellow Inst Sheet) | 39.65 | 23.79 | 1.24
F2021 | 1" TOOLSET FASTPIPE, (2) F2020 SPANNER, DEBURR TOOL | 33.04 | 19.82 | 0.33
F2024 TOP KIT | FASTPIPE OUTLET KIT CONVERSION TO SHUTOFF (F3100-F3111-F3175-F2118-K35075M) | 27.64 | 16.58 | 1.54
F2024V | Wall Outlet w/shutoff, 1” Inlet, (4) ½” fem npt outlets | 66.14 | 39.68 | 2.66
F2024W | Outside or Thru Wall Outlet, (1) 1/2" fem npt outlet | 56.47 | 33.88 | 1.98
F2073 | 90° Elbow X 1/4" FEMALE NPT | 35.94 | 21.57 | 1
F2076-10 | 1" FASTPIPE ORING/BITE RING 10 PACK | 11.01 | 6.6 | 0
F2083 | 90° Elbow X 3/4" FEMALE NPT | 36.04 | 21.62 | 0.88
F2093 | 90° Elbow X 1/2" FEMALE NPT | 35.99 | 21.6 | 0.88
F2112 | Saddle Drop 1" 3/4" NPT | 38.44 | 23.07 | 1.23
F2221 | Threaded Female Adapter 1/2" female NPT | 31.19 | 18.71 | 0.93
F2222 | Valve Kit (ball valve + (2) threaded adapters | 75.69 | 45.41 | 1.72
F2231 | Threaded Female Adapter 3/4" female NPT | 31.24 | 18.74 | 0.86
F28070 | 3/4" FASTPIPE MASTER KIT 90 FT, 3 OUTLETS | 485.09 | 291.05 | 27
F28070 fitting box only | 3/4" FASTPIPE MASTER KIT 90 FT, fitting box only | 235.67 | 141.4 | 9
F28072 | 3/4" FASTPIPE COOLING KIT | 352.79 | 211.67 | 17
F28090 | 1" FASTPIPE MASTER KIT 90FT, 3 OUTLETS | 716.61 | 429.96 | 34
F28090 fitting box only | 1" FASTPIPE MASTER KIT 90FT, fitting box only | 346.23 | 207.74 | 11.6
F28092 | 1" FASTPIPE COOLING KIT | 463.04 | 277.82 | 22
F28099 | 3/4" FASTPIPE MASTER KIT 235FT, 5 OUTLETS | 992.24 | 595.34 | 66
F28099 fitting box only | 3/4" FASTPIPE MASTER KIT 235FT, fitting box only | 443.21 | 265.93 | 12
F28235 | 1" FASTPIPE MASTER KIT 235FT, 5 OUTLETS | 1212.74 | 727.64 | 81
F28235 fitting box only | 1" FASTPIPE MASTER KIT 235FT, fitting box only | 509.66 | 305.8 | 15
F2863-12 | 1" ALUMINUM PIPE (7" 6") FASTPIPE 12 PACK | 346.49 | 207.89 | 26
F2863CAN | 1" BLUE ALUMINUM TUBING - USA - 7"6" SECTION | 29.22 | 17.53 | 1.6
F2863Green | green 1" ALUMINUM PIPE (7" 6") FASTPIPE EACH, green, non returnable | 30.86 | 18.51 | 1.5
F4008 | Reduction Tee 1-1/2" 3/4" NPT | 56.47 | 33.88 | 2
F4009 | Reduction Tee 1-1/2" 1/2" NPT | 56.43 | 33.85 | 2
F4011 | Saddle Drop 1-1/2" 1/4" NPT | 43.16 | 25.9 | 1.25
F4012 | Saddle Drop 1-1/2" 1/2" NPT | 43.21 | 25.93 | 1.16
F4076 | inner parts set oring and ss bite ring | 4.8 | 2.88 | 0.02
F4076-10 | 1-1/2 FASTPIPE ORING/BITE RING 10 PACK | 22.04 | 13.22 | 0
F4112 | Saddle Drop 1-1/2" 3/4" NPT | 43.25 | 25.95 | 1.16
F4231 | Threaded Female Adapter 3/4" female NPT | 33.64 | 20.18 | 1.2
F4241 | 1-1/2" REDUCING UNION X 1/2" FEMALE NPT (F4221-1/2") FASTPIPE | 35.28 | 21.17 | 1.2
F4444 | Valve Kit (ball valve + (2) threaded adapters | 162.23 | 97.34 | 4.54
F4863 | Blue Aluminum Pipe (7ft 6inch) each 40mm od | 48.06 | 28.83 | 4
F4863Green | green 1-1/2" ALUMINUM PIPE (7" 6") FASTPIPE EACH, green, non returnable | 44.09 | 26.45 | 4
F5008 | Reduction Tee 2" 3/4" NPT | 64.88 | 38.92 | 3
F5009 | Reduction Tee 2" 1/2" NPT | 64.84 | 38.9 | 3
F5011 | Saddle Drop 2" 1/4" NPT | 45.56 | 27.33 | 2
F5012 | Saddle Drop 2" 1/2" NPT | 45.61 | 27.36 | 1.57
F5076 | inner parts set oring and ss bite ring | 6 | 3.6 | 0.3
F5076-10 | 2" FASTPIPE ORING/BITE RING 10 PACK | 27.55 | 16.53 | 0
F5112 | Saddle Drop 2" 3/4" NPT | 45.65 | 27.39 | 1.57
F5231 | Threaded Female Adapter 3/4" female NPT | 55.44 | 33.26 | 1.6
F5241 | Threaded Female Adapter 1/2" female NPT | 55.66 | 33.4 | 1.6
F5555 | Valve Kit (ball valve + (2) threaded adapters | 240.33 | 144.19 | 7
F5863 | 2" ALUMINUM PIPE (7" 6") FASTPIPE EACH, BLUE, non returnable | 58.42 | 35.05 | 4.1
F5863Green | green 2" ALUMINUM PIPE (7" 6") FASTPIPE EACH, green, non returnable | 58.42 | 35.05 | 4.1
FI0146 | Tool kit: spanners,deburr, cutter, spray bottle | 649.63 | 389.78 | 7
FI7076 | inner parts set oring and ss bite ring | 9.61 | 5.77 | 0.05
FI7076-10 | 3" FASTPIPE ORING/BITE RING 10 PACK | 33.06 | 19.83 | 0
FI7777 | Valve Kit (ball valve + (2) threaded adapters | 396.55 | 237.93 | 17
FI7863 | 3" ALUMINUM PIPE (7" 6") FASTPIPE EACH, BLUE, non returnable | 99.21 | 59.52 | 8.7
MAXLINE |  |  | 0.7
M3810 | SINGLE PORT OUTLET(1/4 NPT OUT ) | 37.47 | 22.48 | 1.02
M38220 | MANIFOLD BLOCK ONLY 3/8" PORTS, MAXLINE LONG | 12 | 7.2 | 0.57
M6026 | 1/2" MAXLINE TUBING 100FT ROLL | 93.7 | 56.22 | 10
M6026G | 100 FT .63 OD X .50 ID TUBING GREEN includes cutter and deburr tool | 98.53 | 59.11 | 10
M6027 | 1/2" MAXLINE TUBING 300FT ROLL | 264.59 | 158.75 | 27
M6027G | 300 FT .63 OD X .50 ID TUBING GREEN includes cutter and deburr tool | 276.38 | 165.83 | 27
M6030 | 3/4" MAXLINE TUBING 100FT ROLL, | 192.93 | 115.75 | 18
M6030G | 100 FT .98 OD X .80 ID TUBING GREEN includes cutter and deburr tool | 197.07 | 118.24 | 18
M6031 | 3/4" MAXLINE TUBING 300FT ROLL, | 485.09 | 291.05 | 50
M6031G | 300 FT .98 OD X .80 ID TUBING GREEN includes cutter and deburr tool | 516.73 | 310.04 | 50
M6032 | 100 FT 1.26 OD X 1.02 ID TUBING includes cutter and deburr tool | 253.56 | 152.13 | 26
M6032G | 100 FT 1.26 OD X 1.02 ID TUBING GREEN includes cutter and deburr tool | 264.37 | 158.62 | 26
M6033 | 300 FT 1.26 OD X 1.02 ID TUBING includes cutter and deburr tool | 661.49 | 396.89 | 71
M6033G | 300 FT 1.26 OD X 1.02 ID TUBING GREEN includes cutter and deburr tool | 684.97 | 410.98 | 71
M6520 | 200 FT 2.50 OD X 2.00 ID TUBING purchase tools separate | 1080.44 | 648.26 | 166
M7510 | SINGLE PORT OUTLET(1/2" NPT OUT) | 44.09 | 26.45 | 1.12
M7510-SPACER | SPACER PLATE FOR M81010 BLOCK, 1/4" THICK | 12 | 7.2 | 0.15
M8001 | STRAIGHT 1/2" TUBING X 3/8" MALE NPT | 7.93 | 4.76 | 0.16
M8002 | 1/2" MAXLINE X 1/2" MALE NPT STRAIGHT FITTING | 8.4 | 5.04 | 0.18
M8003 | 3/4" MAXLINE X 3/4" MALE NPT FITTING | 18.5 | 11.1 | 0.35
M8004 | STRAIGHT 1" TUBING X 1" MALE NPT | 22.23 | 13.34 | 0.54
M8005 | 3/4" MAXLINE X 1/2" MALE NPT FITTING | 17.18 | 10.31 | 0.35
M8006 | 1/2" TUBING X 1/2" FEMALE NPT | 9.61 | 5.77 | 0.18
M8007 | 3/4" TUBING X 3/4" FEMALE NPT | 20.42 | 12.25 | 0.33
M8009 | 1/2" MAXLINE X 1/2" FEMALE NPT SINGLE PORT ELBOW | 14.41 | 8.64 | 0.28
M8010 | 1/2" EQUAL TEE MAXLINE | 14.41 | 8.64 | 0.38
M8011 | 3/4" EQUAL TEE MAXLINE | 26.43 | 15.86 | 0.83
M8012 | EQUAL TEE | 33.64 | 20.18 | 1.38
M8014 | REDUCING TEE DROP LEG (C ) 1/2" TUBING | 26.43 | 15.86 | 0.65
M8015 | STRAIGHT 1" TUBING X 3/4" MALE NPT | 21.62 | 12.97 | 0.61
M8016 | REDUCING TEE DROP LEG (C ) 1/2" TUBING | 33.64 | 20.18 | 1.11
M8018 | REDUCING TEE DROP LEG (C ) 3/4" TUBING | 34.84 | 20.91 | 1.18
M8019 | 1/2" REDUCING TEE X 1/2" FEMALE NPT MAXLINE | 14.41 | 8.64 | 0.34
M8020 | REDUCING UNION 1" TUBING X 1/2" TUBING | 26.43 | 15.86 | 0.26
M8021 | UNION 1/2" TUBING X 1/2" TUBING | 10.8 | 6.48 | 0.26
M8022 | UNION 3/4" TUBING X 3/4" TUBING | 21.02 | 12.61 | 0.58
M8023 | UNION 1" TUBING X 1" TUBING | 27.63 | 16.58 | 0.81
M8024 | REDUCING UNION 3/4" TUBING X 1/2" TUBING | 20.42 | 12.25 | 0.48
M8025 | REDUCING UNION 1" TUBING X 3/4" TUBING | 27.63 | 16.58 | 0.83
M8026 | END CAP | 14.41 | 8.64 | 0.13
M8027 | END CAP | 16.22 | 9.73 | 0.29
M8028 | END CAP | 19.82 | 11.89 | 0.5
M8030 | STRAIGHT 1/2" TUBING X 1/2" MALE NPT STAINLESS STEEL | 18.02 | 10.82 | 0.156
M8031 | STRAIGHT 3/4" TUBING X 3/4" MALE NPT STAINLESS STEEL | 33.64 | 20.18 | 0.313
M8032 | STRAIGHT 1" TUBING X 1" MALE NPT STAINLESS STEEL | 46.86 | 28.12 | 0.594
M8033 | EQUAL TEE STAINLESS STEEL | 20.42 | 12.25 | 0.35
M8034 | EQUAL TEE STAINLESS STEEL | 40.85 | 24.51 | 0.794
M8035 | EQUAL TEE STAINLESS STEEL | 54.06 | 32.43 | 1.288
M8038 | INLINE HAND VALVE | 20.42 | 12.25 | 0.45
M8038TEE | 1/2" INLINE HAND VALVE MAXLINE blue tee handle design | 19.22 | 11.53 | 0.5
M8039 | INLINE HAND VALVE | 39.65 | 23.79 | 0.81
M8040 | INLINE HAND VALVE | 48.06 | 28.83 | 1.63
M8041 | CROSS | 18.62 | 11.17 | 0.47
M8042 | CROSS | 30.03 | 18.02 | 1
M8043 | CROSS | 40.85 | 24.51 | 1.5
M8047 | SPLIT RING | 1.31 | 0.79 | 0.02
M8048 | SPLIT RING | 1.8 | 1.08 | 0.03
M8049 | SPLIT RING | 2.04 | 1.22 | 0
M8051 | 1" - 3/4" - 1/2" PIPE CUTTER | 27.04 | 16.22 | 0.375
M8054 | ORING | 1.19 | 0.72 | 0
M8055 | ORING | 1.55 | 0.93 | 0
M8056 | ORING | 1.68 | 1.01 | 0.04
M8057 | 1/2 HEX NUT, MAXLINE FITTING | 2.42 | 1.45 | 0
M8058 | 3/4 HEX NUT, MAXLINE FITTING | 4.31 | 2.59 | 0
M8059 | 1" HEX NUT, MAXLINE FITTING | 6.1 | 3.66 | 0
M8064 | 1/2" PIPE CLIP MAXLINE 10/PACK | 12 | 7.2 | 0.12
M8065 | 3/4" PIPE CLIP MAXLINE 10/PACK | 19.22 | 11.53 | 0.18
M8066 | PIPE CLIP SPACING EVERY 4-5 FT BAG OF 10 PCS | 20.42 | 12.25 | 0.38
M8067 | 90 DEGREE ELBOW | 24.02 | 14.41 | 0.58
M8068 | 90 DEGREE ELBOW | 31.24 | 18.74 | 0.96
M8078 | 3/4" REDUCING TEE, 1/2" FEMALE NPT DROP LEG MAXLINE | 22.83 | 13.69 | 0.61
M8080 | 90 DEGREE ELBOW | 10.8 | 6.48 | 0.25
M8085 | ELBOW 1/2" TUBING X 1/2" MALE NPT | 7.52 | 4.52 | 0.3
M8086 | ELBOW 3/4" TUBING X 1/2" MALE NPT | 19.82 | 11.89 | 0.331
M8088 | ELBOW 3/4" TUBING X 3/4" MALE NPT | 20.42 | 12.25 | 0.8
M8089 | REDUCING TEE DROP LEG 3/4" FEMALE NPT | 31.24 | 18.74 | 1.025
M8090 | ELBOW 1" TUBING X 1" MALE NPT | 22.83 | 13.69 | 0.65
M8091 | 3/4" - 1/2" PIPE CUTTER | 13.21 | 7.93 | 0.32
M8095 | 1" - 3/4" - 1/2" BEVELING TOOL | 9.61 | 5.77 | 0.19
M8096 | MAXLINE TUBING BENDER TOOL | 174.24 | 104.54 | 6.6
M8097 | MAXLINE STRAIGHTENING TOOL, 7 WHEEL 1/2, 3/4, & 1" | 168.23 | 100.94 | 8
M8098 | PIPE WRAP TAPE 2" X 100 FT 10 MIL, non returnable | 19.22 | 11.53 | 1
M81010 | SINGLE PORT OUTLET, 1/2" npt outlet BLOCK ONLY | 18.02 | 10.82 | 0.43
M8525 | UNION 2" TUBING X 2" TUBING crimp on | 72.09 | 43.26 | 1.938
M8530 | EQUAL TEE crimp on | 84.11 | 50.47 | 3.313
M8531 | REDUCING TEE DROP LEG 1" FEMALE NPT crimp on | 84.11 | 50.47 | 2.2
M8535 | 90 DEGREE ELBOW crimp on | 72.09 | 43.26 | 2.5
M8541 | STRAIGHT 2" TUBING X 1" MALE NPT crimp on | 67.28 | 40.37 | 1.313
M8542 | STRAIGHT 2" TUBING X 2" MALE NPT crimp on | 72.09 | 43.26 | 1.75
M8549 | CRIMP SLEEVE | 13.21 | 7.93 | 0.188
M8551 | 2" PIPE CUTTER | 48.06 | 28.83 | 4
M8559 | ORING | 6 | 3.6 | 0.063
M8590 | 2" HYDAULIC CRIMP TOOL | 746.89 | 448.13 | 60
M8591 | 2" MAXLINE CRIMP TOOL*** HEAD ONLY***, WITH ALUM PLUG | 418.94 | 251.36 | 0
M8595 | 2" BEVELING TOOL | 46.86 | 28.12 | 1.063
M3800 | 1/2" MAXLINE MASTER KIT 100 FT, 3 OUTLETS | 242.54 | 145.52 | 16
M3810V | SINGLE PORT OUTLET(1/4 NPT OUT ) WITH SHUTOFF | 45.65 | 27.39 | 1.21
M3810W | SINGLE PORT OUTLET THRU WALL KIT (1/4 NPT OUT ) | 43.25 | 25.95 | 1.18
M3820 | 1/2" MAXLINE MANIFOLD KIT: ..M38220 ALUM BLOCK, 3/8" BRASS PLUG, (3) M8001 3/8" NPT STR FITTING, (1) M8002 1/2" ST FITTING | 44.46 | 26.67 | 0
M6026-25 | MAXLINE 1/2 TUBING X 25 FT with instruction sheet, non returnable | 23.43 | 14.06 | 3
M6026-50 | MAXLINE 1/2 TUBING X 50 FT with instruction sheet, non returnable | 46.86 | 28.12 | 5
M6030-25 | MAXLINE 3/4 TUBING X 25 FT with instruction sheet, non returnable | 48.24 | 28.94 | 7
M6030-50 | MAXLINE 3/4 TUBING X 50 FT with instruction sheet, non returnable | 96.47 | 57.88 | 10
M6032-25 | MAXLINE 1" TUBING X 25 FT with instruction sheet, non returnable | 63.4 | 38.04 | 7
M6032-50 | MAXLINE 1" TUBING X 50 FT with instruction sheet, non returnable | 126.79 | 76.07 | 15
M6520-100 | 100 FT 2.50 OD X 2.00 ID TUBING purchase tools separate | 551.24 | 330.74 | 100
M6580 | 1" MAXLINE MASTER KIT 300 FT..(3) M8066 (30 CLIPS)..(2) M8012 TEE..(1) M8004 1" NPT FITTING..(3) M8203V OUTLET WITH SHUTOFF..M8095 DEBUR TOOL..M8051 1" CUTTER | 992.24 | 595.34 | 0
M7500 | 3/4" MAXLINE MASTER KIT COMPLETE 100FT | 297.66 | 178.59 | 23
M7500/M7580 fitting box only | FITTING BOX ONLY FOR M7500/M7580..- (3) M81010 Aluminum Blocks..- (3) M8005 ¾” Tubing x 1/2” NPT fittings..- (3) 50136 ½” npt Plugs..- (3) 50120 3/8” npt Drain Valves..- (1) M8003 ¾” Tubing x ¾” NPT Fitting..- (2) M8011 Tee Fittings..- (20) Tubing Clip... | 124.81 | 74.89 | 7
M7510-2 | 3/4" MAXLINE OUTLET KIT IN CLAMSHELL, 1/2" NPT OUTLET PORT with TWO holes on the face, 1/2 npt and 1/4 npt | 48.06 | 28.83 | 1.1
M7510-2V | 3/4" MAXLINE OUTLET KIT IN CLAMSHELL with TWO holes on the face, 1/2 npt and 1/4 npt, with shutoff valve K35050M | 55.27 | 33.16 | 2
M7510V | SINGLE PORT OUTLET(1/2" NPT OUT) WITH SHUTOFF | 51.66 | 31 | 1.58
M7510W | SINGLE PORT OUTLET THRU WALL KIT (1/2 NPT OUT ) | 54.06 | 32.43 | 1.96
M7580 | 3/4" MAXLINE MASTER KIT 300 FT | 661.49 | 396.89 | 57
M8054-10 | 1/2 MAXLINE ORING 10 PACK | 5.5 | 3.3 | 0
M8055-10 | 3/4 MAXLINE ORING 10 PACK | 6.6 | 3.96 | 0.25
M8056-10 | 1" MAXLINE ORING 10 PACK | 7.71 | 4.62 | 0
M8101 | SINGLE PORT OUTLET(1/2" NPT OUT) | 39.65 | 23.79 | 1.55
M81010-THRU | M81010 MAXLINE BLOCK WITH 1/2 FEMALE NPT BOTH ENDS | 20.42 | 12.25 | 0.43
M8101V | SINGLE PORT OUTLET(1/2" NPT OUT) WITH SHUTOFF | 49.26 | 29.56 | 2
M8200 | DUAL PORT OUTLET, (2) 1/2" NPT OUTLET PORTS | 46.68 | 28.01 | 1.89
M8200V | 1/2" MAXLINE MULTI PORT OUTLET WITH SHUTOFF | 56.02 | 33.61 | 2.36
M8201 | DUAL PORT OUTLET, (2) 1/2" NPT OUTLET PORTS | 53.35 | 32.01 | 1.99
M8201V | 3/4" MAXLINE MULTI PORT OUTLET WITH SHUTOFF, | 63.68 | 38.21 | 2.72
M8203 | DUAL PORT OUTLET, (2) 1/2" NPT OUTLET PORTS | 62.48 | 37.49 | 2.25
M8203V | DUAL PORT OUTLET WITH SHUTOFF | 69.69 | 41.81 | 1.74
M8591-RENTAL | 2" MAXLINE CRIMP TOOL **HEAD ONLY** RENTAL..INCLUDE DEBURR TOOL AND ALUM PLUG....RENTAL FEE $99.99..DEPOSIT OF $100.00 REQUIRED..REFUNDED WHEN RETURNED IN GOOD CONDITION | 220.49 | 132.29 | 10